## 2 Sterilizers
STERILE SUPPLY UNIT - 2 STERILIZERS
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0190.01.009 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | After Hours Cupboard |  | 1 | 4 | Access from inside and outside the Unit
B.0190.02.009 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | After Hours Cupboard |  | 1 | 6 | Access from inside and outside the Unit
B.0190.01.001 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 5 | Within unit
B.0190.02.001 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 5 | Within unit
B.0190.01.002 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Cleaning / Decontamination |  | 1 | 50
B.0190.02.002 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Cleaning / Decontamination |  | 1 | 80
B.0190.01.006 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | DISP- 8 | Disposal Room, 18m2 | Yes | 1 | 8 | Access to external corridor
B.0190.02.006 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | DISP- 8 | Disposal Room, 18m2 | Yes | 1 | 8 | Access to external door
B.0190.01.014 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | STGN-9 | Store - General, 9m2 | Yes | 1 | 12 | Bulk goods receipt, decartoning, Linen
B.0190.02.015 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | STGN-9 | Store - General, 9m2 | Yes | 1 | 20 | Bulk goods receipt, decartoning, Linen
B.0190.01.003 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Loan Equipment Store |  | 1 | 9 | Optional; may be located in OR
B.0190.02.003 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Loan Equipment Store |  | 1 | 12 | Optional; may be located in OR
B.0190.01.007 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9
B.0190.02.007 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9
B.0190.01.004 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Packing / Clean Workroom |  | 1 | 50
B.0190.02.004 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Packing / Clean Workroom |  | 1 | 80
B.0190.01.005 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Receiving Area - Used Items |  | 1 | 20
B.0190.02.005 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Receiving Area - Used Items |  | 1 | 35
B.0190.01.008 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | RECL-10 | Reception / Clerical | Yes | 1 | 9 | Pass-thru hatch or counter with shutter to corridor
B.0190.02.008 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | RECL-10 | Reception / Clerical | Yes | 1 | 9 | Pass-thru hatch or counter with shutter to corridor
B.0190.01.012 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Sterilizer - Low Temperature |  | 1 | 6 | Free standing
B.0190.01.013 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Sterilizer - Steam |  | 1 | 20 | Includes plant
B.0190.02.014 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Steriliser - Steam |  | 1 | 40 | Includes plant
B.0190.01.010 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Sterilizer Cooling |  | 1 | 10 | If separate from loading and in sterile stock area
B.0190.02.010 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Steriliser Cooling |  | 1 | 20 | If separate from loading and in sterile stock area
B.0190.01.011 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Sterilizer Loading / Unloading |  | 1 | 20 | Plus spare trolleys
B.0190.02.012 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Steriliser Loading / Unloading |  | 1 | 40 | Plus spare trolleys
B.0190.02.011 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Sterilising - ETO |  | 1 | 9 | Free standing plus aeration cabinet
B.0190.02.013 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Sterilising - Low Temperature |  | 1 | 6 | Free standing
B.0190.01.015 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | STPS-8 | Store - Photocopy / Stationery, 8m2 | Yes | 1 | 8
B.0190.02.016 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | STPS-8 | Store - Photocopy / Stationery, 8m2 | Yes | 1 | 8
B.0190.01.017 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | STSS-30 | Store - Sterile Stock, OR | Yes | 1 | 40 | Adjust for 10m2 per OR. For OR storage
B.0190.02.018 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | STSS-30 | Store - Sterile Stock, OR | Yes | 1 | 80 | Adjust for 10m2 per OR. For OR storage
B.0190.01.016 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | STSS-30 | Store - Sterile Stock | Yes | 1 | 20 | For other clinical areas
B.0190.02.017 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | STSS-30 | Store - Sterile Stock | Yes | 1 | 40 | For other clinical areas
B.0190.02.019 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Trolley Wash |  | 1 | 15 | Optional
[5 empty] | Discounted Circulation |  |  | 20%

## Staff Areas - 2 Sterilizers
STERILE SUPPLY UNIT - 2 STERILIZERS - Staff Areas
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0190.01.018 | Sterile Supply Unit | 21.10 Staff Areas | 2 Sterilisers | CHST-10 | Change - Staff (Male / Female), 10m2 | Yes | 1 | 10 | Could be shared with adjacent OR
B.0190.02.020 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | CHST-10 | Staff Change |  | 1 | 16 | Could be shared with adjacent OR
B.0190.01.019 | Sterile Supply Unit | 21.10 Staff Areas | 2 Sterilisers | SRM-15 | Staff Room, 15m2 | Yes | 1 | 15 | Could be shared with adjacent OR; used for training facilities
B.0190.02.023 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | SRM | Staff Room | Yes | 1 | 12
B.0190.01.021 | Sterile Supply Unit | 21.10 Staff Areas | 2 Sterilisers | SHST | Shower - Staff, 3m2 | Yes | 1 | 2
B.0190.02.022 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | SHST | Shower - Staff, 3m2 | Yes | 1 | 2
B.0190.01.020 | Sterile Supply Unit | 21.10 Staff Areas | 2 Sterilisers | WCST | Toilet - Staff, 3m2 | Yes | 1 | 3
B.0190.02.024 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | WCST | Toilet - Staff, 3m2 | Yes | 2 | 3
B.0190.02.025 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | WCST | Staff Toilet | Yes |  | 3
B.0190.02.021 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | MEET-12 | Meeting Room, 12m2 | Yes | 1 | 12
[5 empty] | Discounted Circulation |  |  | 20%

## 4 Sterilizers
STERILE SUPPLY UNIT - 4 STERILIZERS
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0190.01.009 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | After Hours Cupboard |  | 1 | 4 | Access from inside and outside the Unit
B.0190.02.009 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | After Hours Cupboard |  | 1 | 6 | Access from inside and outside the Unit
B.0190.01.001 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 5 | Within unit
B.0190.02.001 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 5 | Within unit
B.0190.01.002 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Cleaning / Decontamination |  | 1 | 50
B.0190.02.002 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Cleaning / Decontamination |  | 1 | 80
B.0190.01.006 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | DISP- 8 | Disposal Room, 18m2 | Yes | 1 | 8 | Access to external corridor
B.0190.02.006 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | DISP- 8 | Disposal Room, 18m2 | Yes | 1 | 8 | Access to external door
B.0190.01.014 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | STGN-9 | Store - General, 9m2 | Yes | 1 | 12 | Bulk goods receipt, decartoning, Linen
B.0190.02.015 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | STGN-9 | Store - General, 9m2 | Yes | 1 | 20 | Bulk goods receipt, decartoning, Linen
B.0190.01.003 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Loan Equipment Store |  | 1 | 9 | Optional; may be located in OR
B.0190.02.003 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Loan Equipment Store |  | 1 | 12 | Optional; may be located in OR
B.0190.01.007 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9
B.0190.02.007 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9
B.0190.01.004 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Packing / Clean Workroom |  | 1 | 50
B.0190.02.004 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Packing / Clean Workroom |  | 1 | 80
B.0190.01.005 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Receiving Area - Used Items |  | 1 | 20
B.0190.02.005 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Receiving Area - Used Items |  | 1 | 35
B.0190.01.008 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | RECL-10 | Reception / Clerical | Yes | 1 | 9 | Pass-thru hatch or counter with shutter to corridor
B.0190.02.008 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | RECL-10 | Reception / Clerical | Yes | 1 | 9 | Pass-thru hatch or counter with shutter to corridor
B.0190.01.012 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Steriliser - Low Temperature |  | 1 | 6 | Free standing
B.0190.01.013 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Steriliser - Steam |  | 1 | 20 | Includes plant
B.0190.02.014 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Sterilizer - Steam |  | 1 | 40 | Includes plant
B.0190.01.010 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Steriliser Cooling |  | 1 | 10 | If separate from loading and in sterile stock area
B.0190.02.010 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Sterilizer Cooling |  | 1 | 20 | If separate from loading and in sterile stock area
B.0190.01.011 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers |  | Steriliser Loading / Unloading |  | 1 | 20 | Plus spare trolleys
B.0190.02.012 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Sterilizer Loading / Unloading |  | 1 | 40 | Plus spare trolleys
B.0190.02.011 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Sterilizing - ETO |  | 1 | 9 | Free standing plus aeration cabinet
B.0190.02.013 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Sterilizing - Low Temperature |  | 1 | 6 | Free standing
B.0190.01.015 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | STPS-8 | Store - Photocopy / Stationery, 8m2 | Yes | 1 | 8
B.0190.02.016 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | STPS-8 | Store - Photocopy / Stationery, 8m2 | Yes | 1 | 8
B.0190.01.017 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | STSS-30 | Store - Sterile Stock, OR | Yes | 1 | 40 | Adjust for 10m2 per OR. For OR storage
B.0190.02.018 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | STSS-30 | Store - Sterile Stock, OR | Yes | 1 | 80 | Adjust for 10m2 per OR. For OR storage
B.0190.01.016 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 2 Sterilisers | STSS-30 | Store - Sterile Stock | Yes | 1 | 20 | For other clinical areas
B.0190.02.017 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers | STSS-30 | Store - Sterile Stock | Yes | 1 | 40 | For other clinical areas
B.0190.02.019 | Sterile Supply Unit | 21.05 Sterile Supply Unit | 4 Sterilisers |  | Trolley Wash |  | 1 | 15 | Optional
[5 empty] | Discounted Circulation |  |  | 20%

## Staff Areas - 4 Sterilizers
STERILE SUPPLY UNIT - 4 STERILIZERS - Staff Areas
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0190.01.018 | Sterile Supply Unit | 21.10 Staff Areas | 2 Sterilisers | CHST-10 | Chane - Staff (Male / Female) | Yes | 1 | 10 | Could be shared with adjacent OR
B.0190.02.020 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | CHST-10 | Change - Staff (Male / Female), 10m2 |  | 1 | 16 | Could be shared with adjacent OR
B.0190.01.019 | Sterile Supply Unit | 21.10 Staff Areas | 2 Sterilisers | SRM | Staff Room | Yes | 1 | 15 | Could be shared with adjacent OR; used for training facilities
B.0190.02.023 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | SRM-15 | Staff Room, 15m2 | Yes | 1 | 12
B.0190.01.021 | Sterile Supply Unit | 21.10 Staff Areas | 2 Sterilisers | SHST | Shower - Staff, 3m2 | Yes | 1 | 2
B.0190.02.022 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | SHST | Shower - Staff, 3m2 | Yes | 1 | 2
B.0190.01.020 | Sterile Supply Unit | 21.10 Staff Areas | 2 Sterilisers | WCST | Toilet - Staff, 3m2 | Yes | 1 | 3
B.0190.02.024 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | WCST | Toilet - Staff, 3m2 | Yes | 2 | 3
B.0190.02.025 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | WCST | Staff Toilet | Yes |  | 3
B.0190.02.021 | Sterile Supply Unit | 21.10 Staff Areas | 4 Sterilisers | MEET-12 | Meeting Room, 12m2 | Yes | 1 | 12
[5 empty] | Discounted Circulation |  |  | 20%