## Day Surgery Procedure - 2 Room
DAY SURGERY/ PROCEDURE UNIT - 2 ROOM
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY / RECEPTION / WAITING
WAIT-10 | Waiting | Yes | 1 | 10 | 8 seats
WCPB-3 | Toilet – Public, 3m2 | Yes | 1 | 3
WCAC | Toilet – Accessible, 6m2 | Yes | 1 | 6
RECL-10 | Reception/ Clerical, 10m2 | Yes | 1 | 10 | 1 - 2 staff
STPS-8 | Store - Photocopy/Stationery, 8m2 | Yes | 1 | 8
STFS-10 | Store - Files | Yes | 1 | 4 | Optional. Depends if hard copy files are used and/or retained.
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Unit Manager
| Office – Workstation, 5.5m2 |  | 1 | 5.5 | Optional
OFF-CLN | Office - Clinical Workroom | Yes | 1 | 12 | Workstations for nursing and visiting staff.
| Discounted Circulation |  | 25% | 25%
PATIENT PREPARATION AND HOLDING AREA
INTF | Interview Room | Yes | 1 | 9
CHPT | Change Cubicle, Patient, 2m2 | Yes | 1 | 2
CHPT-D | Change Cubicle –Accessible, 4m2 | Yes | 1 | 4
WCPT | Toilet – Patient, 4m2 | Yes | 1 | 4
ENS-ACC | Ensuite – Accessible, 6m2 | Yes | 1 | 7
| Property Bay - Patient |  | 1 | 2 | Optional. Assumes lockers. Property may instead travel with the patient.
WAIT-SUB | Waiting | Yes | 1 | 5 | "Changed" Waiting - Chairs
PBTR-H-6 | Patient Bay – Holding, 6m2 | Yes | 1 | 6 | “Changed” Waiting - Trolley Bay. May need to be 9m2 should access be required at each side.
| Staff Base |  | 1 | 6 | To oversight changed waiting and can be shared to support pre and post-operative areas
BHWS-B | Bay – Handwashing, Type B | Yes | 1 | 1
| Discounted Circulation |  | 35% | 35%
OPERATING / PROCEDURE ROOMS
PROCEDURE ROOMS (1)
ORGN | Operating Room, General | Yes | 1 | 42 | Able to rotate bed through 360 degrees.
| Scope Reprocessing |  | 1 | 17 | Refer to HPU 190 Sterilizing Services Unit for details regarding space allocations for dirty and clean zones.
| Endoscope Store |  | 1 | 2
SCRB-6 | Scrub-up/ Gowning, 6m2 | Yes | 1 | 6 | Shared between rooms.
OPERATING ROOMS (1)
ORLA | Operating Room, Large | Yes | 1 | 55 | Selected services may opt for a 42m2 room.
ANIN | Anaesthetic Induction Room | Yes | 1 | 15 | Optional or bay as some services may not use owing to operational requirements.
SCRB-6 | Scrub-up/ Gowning, 6m2 | Yes | 1 | 6 | Shared between rooms.
CLUP-7 | Clean-Up Room | Yes | 1 | 6 | Optional for surgical instruments processing.
| Discounted Circulation |  | 35% | 35%
RECOVERY AREAS (15 Chair/ Bay)
SSTN-10 | Staff Station | Yes | 1 | 9
IBR-H-12 | 1 Bed Room – Holding, 12m2 | Yes | 1 | 12 | Used for children, special needs or isolation
PBTR-RS1 | Patient Bay - Recovery Stage 1, 9m2 | Yes | 3 | 9
PBTR-H-9 | Patient Bay – Holding, 9m2 | Yes | 6 | 9 | Stage 2 Recovery. If chairs, a smaller space allocation may be considered (i.e. 6m2)
BHWS-B | Bay – Handwashing, Type B | Yes | 4 | 1
BBEV-OP | Bay- Beverage, Open Plan | Yes | 1 | 4 | Includ ice machine if needed
| Recovery Stage 3 / Discharge Lounge |  | 6 | 4 | Each chair planned at 4m2. In some smaller units, patients may be discharged from Stage 2 recovery
INTF | Interview Room | Yes | 1 | 9 | Optional. In smaller services, interview room may be shared between zones.
| Discounted Circulation |  | 35% | 35%
CLINICAL SUPPORT
BLIN | Bay – Linen | Yes | 1 | 2 | Assumes 1 bay: 2 rooms
STSS-12 | Store – Sterile Stock | Yes | 1 | 18
STEQ-14 | Store - Equipment | Yes | 1 | 12 | With power points for recharging pumps etc.
BMEQ-4 | Bay - Mobile Equipment | Yes | 2 | 2 | Image intensifiers, lead gowns, blanket warmers and trolleys etc.
CLUR-10 | Clean Utility/ Medication Room | Yes | 1 | 10
| Dirty Utility / Disposal Room |  | 1 | 12
BRES | Bay - Resuscitation | Yes | 1 | 1.5
CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 5
| Discounted Circulation |  | 35% | 35%
STAFF AREAS
| Staff Room | Yes | 1 | 12
CHST-10 | Change - Staff Male/Female, 10m2 | Yes | 1 | 10 | Full lockers - adjust mix as required. Toilet and showers included.
CHST-10 | Change - Staff Male/Female, 10m2 | Yes | 1 | 10 | Full lockers - adjust mix as required. Toilet and showers included.
| Discounted Circulation |  | 15% | 15%

## Day Surgery Procedure - 4 Room
DAY SURGERY/ PROCEDURE UNIT - 4 ROOM
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY / RECEPTION / WAITING
WAIT-10 | Waiting, 10m2 | Yes | 1 | 15 | 12 seats
WCPB-3 | Toilet – Public, 3m2 | Yes | 1 | 3
WCAC | Toilet – Accessible, 6m2 | Yes | 1 | 6
RECL-10 | Reception/ Clerical, 10m2 | Yes | 1 | 10 | 1 - 2 staff
OFF-2P | Office –2 Person, Shared, 12m2 | Yes | 1 | 12 | Clerical workroom, dependent on staffing profile.
STPS-8 | Store - Photocopy/Stationery, 8m2 | Yes | 1 | 8
STFS-10 | Store - Files | Yes | 1 | 6 | Optional. Depends if hard copy files are used and/or retained.
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Unit Manager
| Office – Workstation, 5.5m2 |  | 1 | 5.5
OFF-CLN | Office - Clinical Workroom | Yes | 1 | 15 | Workstations for nursing and visiting staff.
| Discounted Circulation |  | 25% | 25%
PATIENT PREPARATION AND HOLDING AREA
INTF | Interview Room | Yes | 2 | 9
CHPT | Change Cubicle, Patient, 2m2 | Yes | 2 | 2
CHPT-D | Change Cubicle –Accessible, 4m2 | Yes | 1 | 4
WCPT | Toilet – Patient, 4m2 | Yes | 1 | 4
ENS-ACC | Ensuite – Accessible, 6m2 | Yes | 1 | 7
| Property Bay - Patient |  | 1 | 3 | Optional. Assumes lockers. Property may instead travel with the patient.
WAIT-SUB | Waiting | Yes | 1 | 10 | "Changed" Waiting - Chairs
PBTR-H-6 | Patient Bay – Holding, 6m2 | Yes | 2 | 6 | “Changed” Waiting - Trolley Bay. May need to be 9m2 should access be required at each side.
| Staff Base |  | 1 | 8 | To oversight changed waiting and can be shared to support pre and post-operative areas
BHWS-B | Bay – Handwashing, Type B | Yes | 1 | 1
| Discounted Circulation |  | 35% | 35%
OPERATING / PROCEDURE ROOMS
PROCEDURE ROOMS (2)
ORGN | Operating Room, General, 42m2 | Yes | 2 | 42 | Able to rotate bed through 360 degrees.
| Scope Reprocessing |  | 1 | 24 | Refer to HPU 190 Sterilizing Services Unit for details regarding space allocations for dirty and clean zones.
| Endoscope Store |  | 1 | 2
SCRB-6 | Scrub-up/ Gowning, 6m2 | Yes | 1 | 6 | Shared between rooms.
OPERATING ROOMS (2)
ORLA | Operating Room, Large | Yes | 2 | 55
ANIN | Anaesthetic Induction Room | Yes | 2 | 15 | Optional or bay as some services may not use owing to operational requirements.
SCRB-6 | Scrub-up/ Gowning, 6m2 | Yes | 1 | 6 | Shared between rooms.
CLUP-7 | Clean-Up Room | Yes | 1 | 8 | Optional for surgical instruments processing.
| Discounted Circulation |  | 35% | 35%
RECOVERY AREAS ( 30 Chair/ Bay)
SSTN-10 | Staff Station | Yes | 1 | 14
IBR-H-12 | 1 Bed Room – Holding, 12m2 | Yes | 2 | 12 | Used for children, special needs or isolation
PBTR-RS1 | Patient Bay - Recovery Stage 1, 9m2 | Yes | 6 | 9
PBTR-H-9 | Patient Bay – Holding, 9m2 | Yes | 12 | 9 | Stage 2 Recovery. If chairs, a smaller space allocation may be considered (i.e. 6m2)
BHWS-B | Bay – Handwashing, Type B | Yes | 8 | 1
BBEV-OP | Bay- Beverage, Open Plan | Yes | 1 | 4 | Includ ice machine if needed
| Recovery Stage 3 / Discharge Lounge |  | 12 | 4 | Each chair planned at 4m2. In some smaller units, patients may be discharged from Stage 2 recovery
INTF | Interview Room | Yes | 1 | 9 | In smaller services, interview room may be shared between zones.
| Discounted Circulation |  | 35% | 35%
CLINICAL SUPPORT
BLIN | Bay – Linen | Yes | 2 | 2 | Assumes 1 bay: 2 rooms
STSS-12 | Store – Sterile Stock | Yes | 1 | 30
STEQ-14 | Store - Equipment | Yes | 1 | 16 | With power points for recharging pumps etc.
BMEQ-4 | Bay - Mobile Equipment | Yes | 4 | 2 | Image intensifiers, lead gowns, blanket warmers and trolleys etc.
CLUR-10 | Clean Utility/ Medication Room | Yes | 1 | 12
| Dirty Utility / Disposal Room |  | 1 | 14
BRES | Bay - Resuscitation | Yes | 1 | 1.5
CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 5
| Discounted Circulation |  | 35% | 35%
STAFF AREAS
| Staff Room | Yes | 1 | 15
CHST-10 | Change - Staff Male/Female, 10m2 | Yes | 1 | 10 | Full lockers - adjust mix as required. Toilet and showers included.
CHST-10 | Change - Staff Male/Female, 10m2 | Yes | 1 | 14 | Full lockers - adjust mix as required. Toilet and showers included.
| Discounted Circulation |  | 15% | 15%