## Revision 8
HPU 350 Multipurpose Service Unit - Schedule of Accommodation, Revision 8
ENTRY / RECEPTION / WAITING
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
AIRLE-10 | Airlock - Entry | Yes | 1 | 10
WAIT-10 | Waiting | Yes | 1 | 18 | Central waiting zone for the facility. The recommended area is indicative only and the space allocation will depend on the range and scale of services. Subwait areas may be required for larger services. In selected jurisdictions, a separate waiting area may be provided if a GP service is collocated with the MPS. Waiting areas should not be directly visible from the main entry access for privacy reasons.
PLAP-10 | Play Area - Paediatric | Yes | 1 | 10
RECL-10 | Reception / Clerical | Yes | 1 | 9 | Assumes 1 staff member
BVM-3 | Bay – Vending Machines | Yes | 1 | 3 (o) | Optional. Assumes 2 machines. Place in a location where noise generated by the machines is minimised.
WCAC | Toilet – Accessible | Yes | 1 | 6 | Includes baby change
WCPU-3 | Toilet – Public | Yes | 1 | 3 | Number will depend on the size of the facility
OFF-S9 | Office – Single Person | Yes | 1 | 9 | Health Service Manager (or equivalent), to be located in close proximity to this zone in a discrete location.
STPS-8 | Store - Photocopier / Stationery |  | 1 | 4 | Includes multifunction device.
STFS-20 | Store – Files | Yes | 1 | 20 | Requirements will depend on transition to EMR.
| Discounted Circulation |  |  | 25%
PRIMARY / AMBULATORY ZONE
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
CONS | Consult Room | Yes |  | 14 | Larger area than standard consult room provided to meet the needs of paediatrics, maternity and other specialised services. Number will depend on service plan. If a child and family health clinic is provided design considerations will include weighing scales, measuring equipment and vaccine fridge. May be located for flexible use by emergency zone.
INTF | Interview Room | Yes |  | 12 | May be located for flexible use by emergency zone. Dual egress required depending on risk assessment and local jurisdictional policies.
TRMT | Treatment Room | Yes |  | 14 (o) | Optional. May be required for allied health treatment or wound care. May be located for flexible use by emergency zone. The provision of service specific treatment rooms eg for dental services, dialysis, opthalmology and audiology will depend on the service scope.
| Telehealth Room |  | 1 | 9 (o) | Optional. For services providing local patients with access to specialist appointments via telehealth. Typical fit out requirements include a table with 2-3 chairs facing a wall mounted TV with camera, speakers and microphone.
MEET-L-30 | Meeting Room | Yes | 1 | 30 | Telehealth, video conferencing, staff education. Include kitchenette.
| Gymnasium / Activity Room |  | 1 | 50 | To be flexibly used for allied health, and other education and community group activities. Gym equipment will depend on service profile. Consider inclusion of operable wall to secure fixed gym equipment area when open space is being used for other purposes. Operational policy relating to patient belongings requires confirmation and may require access to a property bay.
WCAC | Toilet – Accessible | Yes | 1 | 6 | Locate near consult / treatment rooms. A 7m2 Ensuite-Accessible may be required for services providing ADL assistane / day services requiring access to a shower.
| Office - Workstation |  |  | 4.4 | Number and area allocation will depend on staff profile and local jurisdictional policies.
BPROP | Property Bay - Staff | Yes | 1 | 1 | For use by visiting staff.
STGN-9 | Store - General | Yes | 1 | 10
| Discounted Circulation |  |  | 32%
EMERGENCY TREATMENT ZONE
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
| Shower- Decontamination |  | 1 | 8
AIRLE-12 | Airlock - Ambulance Entry | Yes | 1 | 12 | An additional secure ambulant entry for pandemic screening with collocated covered outdoor waiting area may be provided depending on jurisdictional approaches. This would be located to enable direct access for pathology samples / assessment with appropriate separation of patient flows.
| Resuscitation / Treatment / Holding |  |  | 16 | May be used for minor procedures. Number to be informed by clinical services planning.
WAIT-SUB | Waiting - Sub | Yes | 1 | 5 | Separate to main waiting to support patient flow and privacy. Assume this is closed after hours with use of main waiting area only given small staffing numbers.
TRIAGE-1 | Triage Assessment Room, Emergency | Yes | 1 | 13 | To include dual egress.
INTF INTF-MH | Interview Room | Yes |  | 14 | To include dual egress. Also to be used as a low simulus room as required. Access to telehealth. Anti-ligature requirements will be informed by a risk assessment. May be located for flexible use by primary / ambulatory zone. Refer to INTF-MH for mental health interview room depending on service requirements.
TRMT | Treatment Room | Yes |  | 14 (o) | Optional. Number to be confirmed. May be used for GP consultations, other multipurpose consultations.
OFF-WI-5 | Office - Write Up |  |  | 3
| Mobile X-Ray Room |  | 1 | 22 | Where a fixed general x-ray is justified refer to HPU 440 Medical Imaging.
BPATH | Bay - Pathology | Yes | 1 | 3 | To support POCT. May be located in the Resuscitation / Treatment / Holding areas along with a small refrigerator for specimen holding.
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 4
BRES | Bay - Resuscitation Trolley | Yes | 1 | 1.5 | Adjacent to Resuscitation/ Treatment/ Holding
ENS-ST-C | Ensuite - Standard |  | 1 | 5 | Toilet / shower
| Discounted Circulation |  |  | 32%
INPATIENT ZONE 4 BEDS
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
1BR-SP-A1 | 1 Bed Room - Special | Yes | 1 | 18 | Larger size to accommodate a carer eg for palliative care. Includes ceiling mounted patient lifter. Number of special sized rooms to be provided will depend on clinical services planning.
ENS-SP | Ensuite - Special | Yes | 1 | 6
1BR-ST-A1 | 1 Bed Room | Yes | 3 | 16
ENS-ST-A1 | Ensuite - Standard | Yes | 3 | 5
BHWS-B | Bay - Hand Washing, Type B | Yes | 1 | 1 | Located in corridors. Each bedroom will also include a handwashing bay.
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 4
| Palliative Care Lounge |  | 1 | 18 | Includes a beverage bay.
| Discounted Circulation |  |  | 32%
RESIDENTIAL ZONE 16 BEDS
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
| 1 Bed Room (Residential) |  | 16 | 18 | Consider inclusion of interconnecting a number of rooms for couples. Sized to enable flexible use for bariatric residents, palliative care, ageing in place and to accomodation personal items and furniture.
| Ensuite (Residential) |  | 15 | 5
| Ensuite, - Accessible (Residential) |  | 1 | 7
| Lounge - Residential |  | 1 | 48 | 3m2 per resident. May be divided into a number of smaller lounges for a more domestic scale.
| Dining - Residential |  | 1 | 32 | 2m2 per resident. May be divided into a number of smaller lounges for a more domestic scale.
| Kitchenette - Residential |  | 1 | 12
| Resident Lounge / Multipurpose Room |  | 1 | 16 | For family meals, gatherings and functions. May be booked by families
| Sitting Area |  | 3 | 6
WCPT | Toilet - Patient | Yes | 1 | 4 | Located adjacent to shared areas.
STGN-9 | Store - General | Yes | 1 | 12
BLIN | Bay - Linen | Yes | 1 | 2
BMEQ-4 | Bay - Mobile Equipment | Yes | 2 | 4
BHWS-B | Bay - Hand Washing, Type B | Yes | 1 | 1
| Discounted Circulation |  |  | 32%
CLINICAL SUPPORT AREAS
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
SSTN-14 | Staff Station | Yes | 1 | 14
OFF-S9 | Office - Single Person | Yes | 1 | 9 | Number and area allocation will depend on staff profile and local jurisdictional policies.
| Office - Workstation |  |  | 4.4 | Number and area allocation will depend on staff profile and local jurisdictional policies.
CLN-MED | Clean Store / Medication Room | Yes | 1 | 14
DTUR-12 | Dirty Utility | Yes | 1 | 12 | A second dirty utility may be required depending on the number of areas served and travel distances.
BLIN | Bay - Linen | Yes | 1 | 2
| Discounted Circulation |  |  | 32%
NON-CLINICAL SUPPORT AREAS
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
CLRM-10 | Cleaner's Room | Yes | 1 | 10
| Kitchen |  | 1 | 54 | Area assumed to manage up to 50 patients / residents and will accommodate a range of food services models. Area allocation may require adjustment to meet specific service requirements relating to the geographic location, food model and availability of products.
STBK-20 | Store - Bulk | Yes | 1 | 30
STEQ-20 | Store - Equipment | Yes | 1 | 20 | Access to clinical areas and parking for transfer to the community to be considered.
| Laundry - Residential |  | 1 | 16 | For laundering of residents' clothing. Where washing of selected clinical devices is supported by jurisdictional policies a dedicated commercial grade washing machine is required and must be separate to the laundry for residential care. Refer to local jurisdictional policies and AS/NZS 4146. Some services may provide ADL assistance including laundering of clothes which will require access to a separate washing machine.
| Store - Dirty Linen |  | 1 | 8
| Store - Clean Linen |  | 1 | 4
| Store - Flammables |  | 1 | 6
| Store - Medical Gases |  | 1 | 5
| Waste holding - General and Recycling |  | 1 | 10
| Waste holding - Clinical |  | 1 | 10
| Body Hold |  | 1 | 14 | Cool room or refrigerated cabinets. Requirements will depend on local operational policies.
| Workshop - Facility Maintenance |  | 1 | 15 | Size requirements will depend on the operational approach to facilities maintenance. Includes area for minor repairs, tool storage, administration, contractor management, and storage / viewing of plans.
| Discounted Circulation |  |  | 25%
STAFF AREAS
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
SRM-18 | Staff Room | Yes | 1 | 20 | Sized in conjunction with staff establishment, operational practice regarding meal times and number of staff on duty each shift. Includes beverage bay.
BPROP | Property Bay - Staff | Yes | 1 | 2
SHST | Shower - Staff | Yes | 1 | 3 | May be provided as part of the site staff facilities
WCST | Toilet - Staff | Yes | 2 | 3 | Number will depend on staffing profile for the facility. May be distributed across the facility to minimise travel distances.
| Discounted Circulation |  |  | 25%
STAFF ACCOMMODATION - OPTIONAL
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
OVBR | Bedroom | Yes |  | 14 | 17m2 recommended for accessible bedroom.
OVES | Ensuite | Yes |  | 5 | 7m2 recommended for accessible ensuite.
| Lounge / Dining |  |  | 28 | 34m2 recommended for accessible lounge/dining area.
| Laundry |  |  | 6 | To be shared between units. Size dependent on number of staff sharing access.
| Discounted Circulation |  |  | 10%