## Entry Reception
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
ENTRY / RECEPTION / CLERICAL
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | Qty | m2 | REMARKS
WAIT-20 | Waiting | Yes | 1 | 20 | Area allocation is indicative. Requirements will depend on the relative mix of outpatient vs inpatient services being provided by the imaging unit. 1.2m2 required per seat, 1.5m2 per wheelchair space. Consider collocation of meeting room to used for overflow eg for pandemic preparedness.
BWTR | Bay - Water Fountain | Yes | 1 | 1 | With capacity to fill cups or water bottles.
PLAY | Play Area - Paediatric | Yes | 1 | 10 | Assumed to be shared with adjacent department for smaller services.
WCAC | Toilet - Accessible | Yes | 1 | 6 | Assumed to be shared with adjacent department for smaller services
WCPU | Toilet - Public | Yes |  | 3 | Numbers will depend on the size of the unit.
RECP-10 | Reception, 10m2 | Yes | 1 | 10 | Assumes 1 staff member; to be adjusted depending on the staff profile. Must be wheelchair accessible. Locate collocated clerical area to support staff working in reception.
OFF-2P | Office - 2 Person |  | 1 | 12 | For clerical and booking staff and related equipment. Area to be adjusted depending on the staff profile.
CONS | Consult Room | Yes | 1 | 12 (o) | Optional. Typically required for larger services and/or where IR / INR services are provided. Assumed to be shared with adjacent department for smaller services. Additional consult rooms will be required to support outpatient IR/INR services.
INTV | Interview Room | Yes | 1 | 12 | Assumed to be shared with adjacent department for smaller services.
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 4 (o) | Optional. May be required for small services only. For larger services it is assumed that storage bays with power and data are provided close to clinical services where they are used, e.g. ICU.
| Discounted Circulation |  |  | 25%

## Gen XRay & Fluoro
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
GENERAL X-RAY AND FLUOROSCOPY (SCREENING)
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | 1 X-Ray without Fluoro (m2) |  | 1 X-Ray with Fluoro (m2) |  | 2 X-Ray with Fluoro (m2) |  | 4 X-Ray with Fluoro (m2) |  | REMARKS
|  |  | Qty | m2 | Qty | m2 | Qty | m2 | Qty | m2
GENXR | General X-Ray Room | Yes | 1 | 38 | 1 | 38 | 2 | 38 | 4 | 38 | Includes control console space.
OPG | OPG Room |  |  | - |  | 19 (o) |  | 19 (o) |  | 19 (o) | Optional. OPG, where provided, may be collocated with another room such as general x-ray. Where high use is anticipated, a separate room may be preferred. Area allocation will accommodate OPG, Lateral Cephalogram and Cone Beam CT with minor adjustments to room design to suit equipment and shielding requirements.
GENXR-OPG | General X-Ray / OPG Room |  |  |  |  | 45 (o) |  | 45 9o) |  | 45 (o) | Optional. Combined modality room
FLUO | Fluoroscopy Room | Yes |  | - | 1 | 40 | 1 | 40 | 1 | 40 | Given traditional fluoroscopy activity has significantly declined in recent years, most facilities will also incorporate general x-ray within fluoroscopy rooms. This is reflected in AusHFG Standard Component FLUO. Many of these rooms will also be used for interventional work and will require associated support areas - refer to IR/INR SOA for further details.
FLUOC | Fluoroscopy Control Room |  |  | - | 1 | 13 | 1 | 13 | 1 | 13 | Attached to Fluoroscopy Room.
BMEQ | Bay - Mobile Equipment | Yes |  |  | 1 | 2 | 1 | 2 | 1 | 2 | For accommmodation of barium swallow chair, and other mobile equipment.
ENS-ACC | Ensuite – Accessible | Yes |  | - | 1 | 7 | 1 | 7 | 1 | 7 | Dual access from Fluoroscopy Room and corridor. Include area for patient to change.
CHPT | Change Cubicle – Patient | Yes |  | - | 1 | 2 | 2 | 2 | 4 | 2 | One cubicle per imaging room (excluding OPG). Final requirements will depend on patient casemix and volume of inpatients vs outpatients.
CHPT - AC | Change Cubicle – Patient, Accessible | Yes | 1 | 4 | 1 | 4 | 1 | 4 | 1 | 4
WCPT | Toilet – Patient | Yes | 1 | 4 | 1 | 4 | 1 | 4 | 1 | 4
BLIN | Bay - Linen | Yes | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 2
| Bay – Lead Aprons |  | 1 | 0.5 | 2 | 0.5 | 3 | 0.5 | 5 | 0.5 | Storage outside of each imaging room (excluding OPG) for lead apron. Alternatively they can be stored in the room.
| Radiographer Work Area |  | 1 | 16 | 1 | 24 | 1 | 30 | 1 | 36 | Centrally located radiography work hub with workstations (dual monitors), storage for manuals and detectors, and area for coordination of workflow, clinical discussions / teaching wih medical, radiography, nursing staff and students. May be an open area / zone however needs to support private conversations away from patients.
PT-HOLD-B | Patient Bay – Holding, Bed | Yes |  | 9 (o) |  | - |  |  |  |  | Optional. Include where a separate holding / recovery zone is not provided. Must be in a location for supervision by staff.
DTUR-10 | Dirty Utility | Yes | 1 | 10 (o) |  | - |  | - |  | - | Optional. Include where a separate holding / recovery zone is not provided.
| Discounted Circulation |  |  | 37% |  | 37% |  | 37% |  | 37%

## US & Mammo
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
ULTRASOUND AND MAMMOGRAPHY
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | 1 US Room (m2) |  | 2 US Rooms (m2) |  | 3 US Rooms + 1 Procedure Room + 1 Mammo (m2) |  | 4 US Rooms + 1 Procedure Room +1 Mammo (m2) |  | REMARKS
|  |  | Qty | m2 | Qty | m2 | Qty | m2 | Qty | m2
WAIT-S | Waiting - Sub | Yes | 1 | 5 | 1 | 8 | 1 | 10 | 1 | 10 | Assumed patients are waiting and are changed. Need to consider location for supervision by staff.
BWTR | Bay - Water Fountain | Yes |  | Share | 1 | 1 | 1 | 1 | 1 | 1
| Patient Locker Bay |  |  | - | 1 | 1 (o) | 1 | 1 (o) | 1 | 1 (o) | Optional. Operational process may be for patients to take clothes / possessions with them. Where provided, collocate with changed wait.
ULTR | Ultrasound Room | Yes | 1 | 16 | 2 | 16 | 3 | 16 | 4 | 16 | Number of rooms adjusted to suit service plan.
WCPT | Toilet - Patient | Yes |  |  |  |  | 1 | 4 | 2 | 4 | Close access to toilets is essential. Some ultrasound rooms will require a dedicated toilet or one toilet may be shared between 2 rooms, depending on case mix and layout. Combined toilet / change areas may be provided. Many patients will change within the ultrasound room assuming provision of privacy curtain.
WCAC | Toilet - Accessible | Yes | 1 | 6 | 1 | 6 | 1 | 6 | 1 | 6
ULT-PR | Ultrasound Room - Procedures | Yes |  |  |  |  | 1 | 20 | 1 | 20 | For interventional procedures. Recovery from ultrasound procedures is recommended to be in the combined holding / nursing recovery area for all interventional imaging procedures.
| Ultrasound Reprocessing Room |  | 1 | 7 | 1 | 7 | 1 | 7 | 1 | 7 | For high level disinfection of ultrasound transducers. Refer to Section 2.2.8 in the HPU for further information.
MAMMO | Mammography Room | Yes |  | - | 1 | 18 (o) | 1 | 18 (o) | 1 | 18 (o) | Optional. Not all Units offer a mammography service, inclusion will be subject to the service plan. Number or rooms adjusted to suit service plan. Room size supports access for a bed given most hospital mammography rooms are used for procedural services. For screening services only 16m2 is sufficient.
CHPT | Change Cubicle - Patient | Yes | 1 | 2 (o) | 1 | 2 (o) | 2 | 2 (o) | 3 | 2 (o) | Optional. Many patients will change within the modality room assuming appropriate privacy provisions.
CHPT-AC | Change Cubicle - Patient, Accessible | Yes | 1 | 4 (o) | 1 | 4 (o) | 1 | 4 (o) | 1 | 4 (o) | Optional. Total one cubicle per ultrasound room.
BLIN | Bay - Linen | Yes | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 2
| Sonographer Work Room |  | 1 | 9 |  | 5.5 |  | 5.5 |  | 5.5 | Per person. Benching. Radiography assistants are also typically located in this room.
REPW | Reporting Workstation |  |  | Use PACS workstation |  | 6 |  | 6 |  | 6 | No. dependent on expected throughput. As a guide one workstation will likely be required for two-three ultrasound rooms, however additional will be required for training sites. An additional reporting station will be required for mammography.
| Prep Room / Lab |  |  | - |  | - | 1 | 5 | 1 | 5 | Ready access to mammography and reporting rooms. Provide where procedures are undertaken.
| Discounted Circulation |  |  | 37% |  | 37% |  | 37% |  | 37%

## CT
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
CT
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | 1 CT Rooms |  | 2 CT Rooms |  | 3 CT Rooms |  | REMARKS
|  |  | Qty | m2 | Qty | m2 | Qty | m2
CTIR | CT Imaging Room | Yes | 1 | 45 | 2 | 45 | 3 | 45
CTCR | CT Imaging Control Room | Yes | 1 | 16 | 2 | 16 | 3 | 16 | If shared is preferred, refer to space allocation below. A larger control room will be required where the CT is supporting trauma services, depending on the number of staff to be accommodated.
| CT Imaging Control Room - Shared | Yes |  | - |  | 26 (o) |  | 26 (o) | Optional. A shared control room may be preferred between two rooms in terms of staffing efficiency and patient throughput. This is an alternative to a dedicated room. A larger control room will be required where the CT is supporting trauma services, depending on the number of staff to be accommodated.
OFF-WS | Office - Workstation | Yes |  | 4.5 (o) |  | 4.5 (o) |  | 4.5 (o) | Optional. Additional workstations for workflow control and advanced processing. These may be integrated into the CT control room depending on workflows. Preferred to be included for trauma / stroke.
| CT Computer Equipment Room |  | 1 | 10 (o) | 2 | 10 (o) | 3 | 10 (o) | Optional. Required if equipment to be stored outside examination room.
SCRB-4 | Scrub Up | Yes |  |  | 1 | 4 (o) | 1 | 4 (o) | Optional. Where interventional procedures are undertaken. Shared between rooms.
REPR | Reporting Room |  | 1 | 9 |  | 12 |  | 12 | Additional reporting stations at 6m2 may be required to support routine reporting.
WAIT-S | Waiting - Sub | Yes | 1 | 5 (o) | 1 | 10 (o) | 1 | 12 (o) | Optional. Shared for MRI and CT. Size of waiting area will depend on mix of outpatient and inpatient activity.
CHPT | Change Cubicle - Patient | Yes | 1 | 2 | 1 | 2 | 2 | 2 | One per CT room.
CHPT-AC | Change Cubicle - Patient, Accessible | Yes | 1 | 4 | 1 | 4 | 1 | 4 | One per CT room.
| Patient Locker Bay |  | 1 | 1 | 1 | 1 | 1 | 1 | Unless patient belongings travel with the patient.
WCAC | Toilet - Accessible | Yes | 1 | 6 | 1 | 6 | 1 | 6
PT-HOLD-A | Patient Bay - Holding | Yes | 2 | 6.5 | 3 | 6.5 | 5 | 6.5 | Indicative number. Final number of bays will depend on mix of inpatient vs outpatient activity. Share with other modalities where appropriate.
| Preparation Bay |  | 1 | 9 | 2 | 9 | 2 | 9 | Indicative number. Space for a chair and storage with a curtain for privacy for inserting cannula if IV contrast is required. Combine with patient bay-holding for flexible use of bays. Contrast administering and check list outside of the room supports higher CT throughput. Some patients require observation eg post contrast and to slow heart down for cardiac scans.
SSTN-10 | Staff Station | Yes |  |  | 1 | 5 | 1 | 8 | Assume smaller units will share holding / recovery and associated support areas with other modalities.
BHWS-B | Bay - Handwashing, Type B | Yes | 1 | 1 | 2 | 1 | 2 | 1 | Part of preparation area.
BLIN | Bay - Linen | Yes | 1 | 2 | 1 | 2 | 1 | 2
| Prep Room / Lab |  |  |  | 1 | 5 (o) | 1 | 5 | To support interventional procedures. Share with MRI.
CLN-10 | Clean Store | Yes |  | Share | 1 | 6 | 1 | 6 | May be provided as a combined space of 10m2 including medication store depending on local jurisdictional policies. May be shared with other modalities.
MED-14 | Medication Room | Yes | 1 | Share | 1 | 8 | 1 | 8 | May be provided as a combined space of 10m2 including clean store depending on local jurisdictional policies. May be shared with other modalities.
DTUR-S | Dirty Utility - Sub | Yes | 1 | 8 (o) | 1 | 8 (o) | 1 | 8 (o) | Optional. May be shared with other modalities.
| Discounted Circulation |  |  | 37% |  | 37% |  | 37%

## MRI
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
MRI
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | 1 MRI Rooms |  | 2 MRI Rooms |  | 3 MRI Rooms |  | REMARKS
|  |  | Qty | m2 | Qty | m2 | Qty | m2
ANAE-16 | Anaesthetic Preparation Room | Yes | 1 | 16 (o) | 1 | 16 (o) | 1 | 16 (o) | Optional. Will also be used to hold patients on beds. May be shared between MRI rooms. Typically only one anaesthetic preparation room required.
MRIR | MRI Room |  | 1 | 46 | 2 | 46 | 3 | 46 | Storage within the rooms will be needed.
MRICR | MRI Control Room |  | 1 | 14 | 2 | 14 | 3 | 14 | Must oversee with controlled entry into magnet room. Recommend 25m2 where shared (back to back) between rooms.
| MRI Computer Equipment Room |  | 1 | 10 | 2 | 10 | 3 | 10
REPR | Reporting Room |  | 1 | 9 |  | 12 |  | 12 | Additional reporting stations at 6m2 may be required to support routine reporting.
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 3 | 1 | 5 | 1 | 6 | E.g. anaesthetic machine, detachable MRI tables.
WAIT-S | Waiting - Sub | Yes | 1 | 5 | 1 | 6 | 1 | 8
CHPT | Change Cubicle - Patient | Yes |  |  | 1 | 2 | 2 | 2 | 2 per MRI room including 1 accessible. Combination change cubicle / toilet may be provided.
CHPT - AC | Change Cubicle – Patient, Accessible | Yes | 1 | 4 | 1 | 4 | 1 | 4
WCAC | Toilet - Accessible | Yes | 1 | 6 | 1 | 6 | 1 | 6
PT-HOLD-B | Patient Bay - Holding | Yes | 1 | 9 | 2 | 9 | 3 | 9 | For holding, preparation and recovery. Number will depend on outpatient vs inpatient mix.
SSTN-10 | Staff Station | Yes | 1 | 5 | 1 | 5 | 1 | 8
BHWS-B | Bay - Handwashing Type B | Yes | 1 | 1 | 1 | 1 | 2 | 1 | Access from holding and preparation areas.
BLIN | Bay - Linen | Yes | 1 | 2 | 1 | 2 | 1 | 2 | Optional if stand-alone unit. Locate in zone 2 and decant to zones 3/4 as needed. May have shared access to main department.
BRES | Bay - Resuscitation Trolley | Yes | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | Non-ferrous construction.
| Bay - Patient Property | Yes | 1 | 1 | 1 | 1 | 1 | 1 | Patient Lockers
WCST | Toilet - Staff | Yes | 1 | 3 | 1 | 3 | 1 | 3
| Store - Dewar Tank |  |  | Remote areas only |  | Remote areas only |  | Remote areas only
| Discounted Circulation |  |  | 37% |  | 37% |  | 37%

## Patient Holding Recovery
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
PATIENT HOLDING / RECOVERY
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | Qty | m2 | REMARKS
PT-HOLD-B | Patient Bay - Holding | Yes |  | 9 | Assume five patient holding / recovery bays per interventional room are required (as per separate IR/INR SOA). This will depend on anticipated casemix and anaesthetic requirements. In larger services, these may be collocated with the modality if distances are an issue. Where possible, generally configured as a single area to maximise staff efficiencies. MRI patient holding / recovery bays however are excluded and are instead located in the MRI suite – MRI Induction / Preparation / Recovery Room Bays should have direct observation from a staff station. They may be used for preparation also.
SSTN-10 | Staff Station | Yes | 1 | 10 | Area required will depend on number of bays allocated.
WCPT | Toilet - Patient | Yes |  | 4 | No. to suit capacity of unit.
BHWS-B | Bay - Handwashing, Type B |  |  | 1 | No. to suit capacity of unit. Refer to Part D.
CLN-10 | Clean Store | Yes | 1 | 6 | Area requirements will depend on the size of the unit. May be combined with the medication room depending on local jurisdictional policies.
MED-14 | Medication Room | Yes | 1 | 8 | Area requirements will depend on the size of the unit. May be combined with the clean store depending on local jurisdictional policies.
BMEQ | Bay - Mobile Equipment | Yes |  | 4 | Number will depend on the size of the unit.
BLIN | Bay - Linen | Yes |  | 2 | Number will depend on the size of the unit.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 1 | Number will depend on the size of the unit.
BBEV | Bay - Beverage | Yes | 1 | 4
BRES | Bay - Resuscitation Trolley | Yes | 1 | 1.5 | Additional bays may be required depending on the size of the unit.
DTUR-S | Dirty Utility - Sub | Yes | 1 | 10 | Share with adjacent modality areas. Area requirement will depend on size of the unit.
| Discounted Circulation |  |  | 37%

## Clinical Support
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
CLINICAL SUPPORT AREAS
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | Qty | m2 | REMARKS
BMEQ | Bay - Mobile Equipment | Yes |  | 4 | Various equipment, including bed mover. Patient transport services model to be confirmed, may be based within department or centralised within hospital. Bays accommodating mobile imaging units will require access to power and data. Number will depend on size of unit.
| Trolley / Wheelchair Park |  |  | 6 | Smaller area required if porter service provided by central Transport Unit. Charging needed. Area requirement will depend on size of unit.
| Transport Staff Work Base |  |  | 4 (o) | Optional. Not required if porter service provided by central Transport Unit. Ideally collocated with nursing staff base. Area requirement will depend on size of unit.
CLRM | Cleaner's Room | Yes |  | 5
STGN | Store - General | Yes |  | 9 | For accommodation of consumables such as contrast media. For a unit with a small number of modalities 9m2 is recommended. For a large, tertiary service up to 30m2 may be required.
STEQ-14 | Store - Equipment | Yes |  | 9 | For a unit with a small number of modalities 9m2 is recommended. For a large, tertiary service up to 20m2 may be required. Used for storage of items that are required in modality rooms on an ad hoc basis, eg stands for weight bearing imaging, stitching equipment, patient hoist, mobile x-ray units, chairs for modified swallows etc. Area requirements will depend on range of equipment to be accommodated.
| Equipment Workshop |  |  | 16 (o) | Optional. For testing and maintenance of mobile imaging modalities on large units where there is sufficient activity and staff to support a dedicated space. Requires shielding assessment. Transfer pathway to ORs and ICU to be considered for servicing of mobile imaging equipment.
| Physics Laboratory |  |  | 14 (o) | Optional. For large units only, depending on activity and staff profile. Includes work space and storage.
DISP-8 | Disposal Room | Yes |  | 8 | Area requirement will depend on size of unit.
| Discounted Circulation |  |  | 37%

## Staff Work Areas
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
STAFF WORK AREAS
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | Qty | m2 | REMARKS
OFF-1P-12 | Office - 1 Person, 12m2 | Yes |  | 12 | Requirement will depend on staff profile.
OFF-1P-9 | Office -1 Person, 9m2 | Yes |  | 9 | Requirement will depend on staff profile. Number will depend on staff profile. Consider the location of offices given some roles will need to be located in close proximity to the clinical area.
OFF-WS | Office - Workstation | Yes |  | 5.5 | 3D post processing activities. Associated with CT and MRI. Number to suit number of staff dedicated to this activity. Typically require 2 monitors per workstation. Distribution will depend on local requirements. Larger services will likely have central 3D post processing room in addition to workstations located with modalities.
REPW | Reporting Workstation | Yes |  | 6 | Number of spaces to suit activity. For example, two reporting stations may be needed to support the activity generated by a CT. Consider height adjustable desks for standing reporting.
OFF-WS | Office - Workstation | Yes |  | 4.5 | Number of spaces as per staff establishment. Staff may include registrars, administration and transcription staff, PACS / IT administration etc.
| Film / Record Store |  | 1 | 15 (o) | Optional, film libraries are reducing given transition to digital images. Units with high volume paediatrics may still require this given length of record keeping required.
BMFD-3 | Bay - Multifunction Device | Yes | 1 | 3 | Area requirement will depend on size of department.
MEET- L-20 | Meeting Room | Yes | 1 | 20 | Number will depend on size of unit. May be shared with adjacent service. Consider RANZCR accreditation requirements to support training programs.
MEET-L-30 | Meeting Room | Yes | 1 | 30 (o) | Optional. Access to a large meeting / conference room for multidisciplinary case conferences may be required in larger facilities.
STGN | Store - General | Yes | 1 | 8 | Area requirement will depend on size of unit.
| Discounted Circulation |  |  | 25%

## Staff Amenities
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
STAFF AMENITIES
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | Qty | m2 | REMARKS
SRM-15 | Staff Room | Yes |  | 15 | Area requirement will depend on the staff establishment. Refer to standard components for capacity requirements. Shared staff room for small units. Depending on the size of service, additional beverage bays may be needed to support staff near to where they work.
BPROP | Bay - Property, Staff | Yes |  | 2 | Estimate only. Numbers dependent on staff establishment and local policies.
SHST | Shower - Staff | Yes |  | 3 (o) | Optional. Numbers dependent on staff establishment.
WCST | Toilet - Staff | Yes |  | 3 | Number will suit FTE and be located in staff areas but also close to examination rooms.
CHST-10 | Change Room - Staff | Yes | 1 | 20 | Required for facilities with high interventional workload. May support interventional radiology, CT, MRI. Will include showers and WCs. Area requirement will depend on the staff establishment. Male / female allocations to be determined a project level with consideration of all gender facilities.
| Discounted Circulation |  |  | 25%

## IR_INR
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
INTERVENTIONAL RADIOLOGY
ENTRY / RECEPTION / WAITING
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | 1 IR Room within Medical Imaging Unit (m2) |  | 4 IR / INR Rooms within Dedicated IR / INR Unit (m2) |  | REMARKS
|  |  | Qty | m2 | Qty | m2
WAIT-10 | Waiting | Yes | Shared |  | 1 | 15 | Indicative area allocation. Requirements will depend on throughput. For services with a significant paediatric mix include a paediatric waiting and play area.
WCPU | Toilet – Public | Yes | Shared |  | 1 | 3
WCAC | Toilet – Accessible | Yes | Shared |  | 1 | 6
RECP-10 | Reception | Yes | Shared |  | 1 | 10
OFF-WS | Office - Workstation | Yes | Shared |  |  | 4.4 | Administration workstations collocated with reception. Number of workstations dependent on staff profile.
BMFD-3 | Bay - Multifunction Device | Yes | Shared |  | 1 | 3
OFF-CLN | Office - Clinical Workroom | Yes | Shared |  | 1 | 15
| Discounted Circulation |  |  | 30% |  | 30%
PATIENT HOLDING AND RECOVERY
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | 1 IR Room within Medical Imaging Unit (m2) |  | 4 IR / INR Rooms within Dedicated IR / INR Unit (m2) |  | REMARKS
|  |  | Qty | m2 | Qty | m2
CONS | Consult Room | Yes | 1 | 12 | 1 | 12 | Flexibly used for consents, education, pre-op asessment/observations and pre and post procedure clinical examinations. For outpatient IR services refer to HPU 155. Locate to enable access from recovery zone also.
CHPT | Change Cubicle -Patient | Yes | Shared |  | 1 | 2 | Access from recovery also required.
CHPT-AC | Change Cubicle – Patient, Accessible | Yes | 1 | 4 | 1 | 4
WCPT | Toilet – Patient | Yes | Shared |  | 1 | 4
WCAC | Toilet – Accessible | Yes | Shared |  | 1 | 6
| Property Bay - Patient |  | Shared |  | 1 | 3 (o) | Optional. Assumes lockers. Property may instead travel with the patient. Access from recovery also required.
PT-HOLD-A | Patient Bay – Holding | Yes | Shared |  | 12 | 6.5 | Recommend 1 pre-procedure bay and 2 Stage 2/3 recovery bays per IR room. Patient may be accommodated on a chair or trolley. May need to be 9m2 should access be required at each side. Where possible share holding / recovery areas with a collocated unit eg medical imaging or operating suite to support staffing efficiencies.
PT-HOLD-B | 1 Bed Room – Holding | Yes | Shared |  | 1 | 12 | Used for children, special needs or isolation. Number will depend on patient cohort.
PT-RS1 | Patient Bay - Recovery Stage 1 | Yes | Shared |  | 7 | 9 | Recommend 2 per IR room (including enclosed rooms). Where possible share holding / recovery areas with a collocated unit eg medical imaging or operating suite to support staffing efficiencies.
SSTN-10 | Staff Station | Yes | Shared |  | 1 | 18 | Located to support pre and post-operative areas.
BHWS-B | Bay – Handwashing, Type B | Yes | Shared |  | 5 | 1 | 1 per 4 bays.
BLIN | Bay - Linen | Yes | Shared |  | 1 | 2
BBW | Bay - Blanket / Fluid Warmer | Yes | Shared |  | 1 | 1 | 1 per 16 spaces.
BBEV | Bay- Beverage | Yes | Shared |  | 1 | 4
BMEQ | Bay - Mobile Equipment | Yes | Shared |  | 1 | 3
BRES | Bay - Resuscitation Trolley | Yes | Shared |  | 1 | 1.5
CLN-10 | Clean Store | Yes | Shared |  | 1 | 6 | May be provided as a combined space of 14m2 including medication store depending on local jurisdictional policies.
MED-14 | Medication Room | Yes | Shared |  | 1 | 10 | May be provided as a combined space of 14m2 including clean store depending on local jurisdictional policies. Access to centralised medication store or drug safe in each interventional radiology suite will be required.
STGN | Store - General | Yes | Shared |  | 1 | 10 | For other non-sterile / deboxing storage.
STEQ-14 | Store - Equipment | Yes | Shared |  | 1 | 20 | With power points for recharging pumps etc.
| Dirty Utility / Disposal Room |  | Shared |  | 1 | 14
CLRM | Cleaner's Room | Yes | Shared |  | 1 | 5
WCST | Toilet - Staff | Yes | Shared |  |  | 3 (o) | Optional. Number and location dependent on travel distances to staff change rooms.
| Discounted Circulation |  |  | 37% |  | 37%
INTERVENTIONAL ROOMS
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | 1 IR Room within Medical Imaging Unit (m2) |  | 4 IR / INR Rooms within Dedicated IR / INR Unit (m2) |  | REMARKS
|  |  | Qty | m2 | Qty | m2
ANAE-16 | Anaesthetic Preparation Room | Yes | 1 | 16 (o) | 4 | 16 (o) | Optional depending on local requirements, may be provided through separate pre-procedure holding area.
CLAB-I | Interventional Radiology Room - Single Plane Angiography | Yes | 1 | 55 | 2 | 55 | Number and types of IR rooms to be allocated in line with the service plan / analysis of service need. Where it is anticipated that single plane angiography may be converted to biplane units in the future these rooms should be sized accordingly given these rooms are challenging to expand at a later date. Refer to CT and MRI allocations within this SOA for interventional CT and MRI modalities. The provision of Angiography-CT hybrid interventional rooms is growing (80m2 recommended for this modality, however project team should refer to recently delivered facilities). Access to centralised medication store or drug safe in each interventional radiology suite will be required.
CLAB-EP | Interventional Radiology / Neuroradiology Room - Biplane Angiography | Yes |  |  | 2 | 60 | Number and types of IR rooms to be allocated in line with the service plan / analysis of service need. Where it is anticipated that single plane angiography may be converted to biplane units in the future these rooms should be sized accordingly given these rooms are challenging to expand at a later date. Refer to CT and MRI allocations within this SOA for interventional CT and MRI modalities. The provision of Angiography-CT hybrid interventional rooms is growing (80m2 recommended for this modality, however project team should refer to recently delivered facilities). Access to centralised medication store or drug safe in each interventional radiology suite will be required.
| Angiography Control Room | Yes | 1 | 14 | 4 | 14 | May be combined and shared between 2 rooms. Must support digital systems included associated cameras and recording systems.
| Computer Equipment Room |  | 1 | 10 | 4 | 10 | For storage of vendor computer cabinets.
REPR | Reporting Room | Yes | 1 | 12 | 2 | 12
SCRB-4 | Scrub Up | Yes | 1 | 4 | 2 | 4 | May be shared between rooms.
STSS-20 | Angiography Sterile Store / Set-Up | Yes | 1 | 12 | 4 | 12
| Bay - Lead Aprons | Yes | 1 | 0.5 | 4 | 0.5
CLUP-7 | Clean-Up Room | Yes | 1 | 7 (o) | 1 | 15 | May be shared with other modalities in smaller units.
| Prep Room / Lab |  | 1 | 5 | 1 | 8
| Discounted Circulation |  |  | 37% |  | 37%
STAFF AREAS
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | 1 IR Room within Medical Imaging Unit (m2) |  | 4 IR / INR Rooms within Dedicated IR / INR Unit (m2) |  | REMARKS
|  |  | Qty | m2 | Qty | m2
OFF-1P-9 | Office- 1 Person, 9m2 | Yes | Shared |  |  | 9 | Number and area allocation will depend on staff profile and local jurisdictional policies.
OFF-WS | Office - Workstation |  | Shared |  |  | 4.5 | Number and area allocation will depend on staff profile and local jurisdictional policies.
MEET-20 | Meeting Room | Yes | Shared |  | 1 | 15 | Size will depend on number of people to be accomodated and local jurisdictional policies.
SRM-15 | Staff Room | Yes | Shared |  | 1 | 24 | Requirements will depend on the staff profile for the unit.
CHST-35 | Change - Staff | Yes | Shared |  | 1 | 50 | Requirements will depend on the staff profile for the unit. Full lockers - adjust female, male, all gender mix as required. Toilet and showers included.
| Discounted Circulation |  |  | 25% |  | 25%

## Satellite - Emergency
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
SATELLITE - EMERGENCY UNIT
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | Qty | m2 | REMARKS
WAIT-S | Waiting - Sub | Yes |  | 5 (o) | Optional, depending on operational policies relating to transfer of patients to Imaging and resourcing for staff oversight. Area allocation is dependent on size of satellite service.
| Staff Base |  |  | 8
BRES | Bay - Resuscitation Trolley | Yes |  | 1.5
PT-HOLD-B | Patient Bay - Holding, Bed | Yes |  | 9 | Number of bays dependent on expected throughput and access for patients from other units eg for after hours services. Consideration needs to be given to staff oversight. These bays allow satellite service to optimise throughput.
GENXR | General X-Ray Room | Yes |  | 40 | Sized larger for trauma cases. Assume 45m2 if OPG included.
ULTR | Ultrasound Room | Yes |  | 16 | Ultrasound reprocessing requirements to be confirmed. Refer to HPU Section 2.2.8.
WCAC | Toilet - Accessible | Yes |  | 6 | Direct access to ultrasound room.
CTIR | CT Imaging Room | Yes |  | 45
CTCR | CT Imaging Control Room | Yes |  | 16 | A larger control room will be required where the CT is supporting trauma services, depending on the number of staff to be accommodated.
| CT Equipment Room | Yes |  | 10
CHPT-AC | Change Cubicle - Patient, Accessible | Yes |  | 4
WCPT | Toilet - Patient | Yes |  | 4 (o) | Optional, to be provided depending on access to patient amenities within ED.
REPW | Reporting Workstation |  |  | 6 | Busy services may require one station per x-ray and two per CT. Locate to ensure ease of communication with the emergency medical team.
STGN | Store - General | Yes |  | 8
DTUR-S | Dirty Utility - Sub | Yes |  | 8 (o) | Optional, depending on access to dirty utility within ED.
BMEQ | Bay - Mobile Equipment | Yes |  | 2 (o) | Optional, for storage of mobile imaging equipment where additional mobile units are required to service areas outside of the resuscitation zone.
BLIN | Bay - Linen | Yes |  | 2 (o) | Optional, depending on access to linen within ED.
WCST | Toilet - Staff | Yes |  | 3 (o) | Optional, where there are significant travel distances to ED staff amenities. Access to other staff amenities also requires consideration.
| Discounted Circulation |  |  | 37%

## Satellite - Ambulatory Care
HPU 440 Medical Imaging Unit - Schedule of Accommodation, Revision 8
SATELLITE - AMBULATORY CARE UNIT
AusHFG ROOM CODE | ROOM/SPACE | SC/ SC-D | Qty | m2 | REMARKS
WAIT-S | Waiting, Sub | Yes |  | 5 | Spatial allocation dependent on size of satellite service and opportunities to share with other ambulatory care services. 1.2m2 required per seat, 1.5m2 per wheelchair space.
| Staff Base |  |  | 8 | May be shared with staff base for ambulatory care clinic.
PT-HOLD-B | Patient Bay - Holding, Bed | Yes |  | 9 (o) | Optional. Provision of holding bays will depend on patient cohort and operational policies. This may include patients from residential care, or hospital transfers of patients on trolleys. Consider staff supervision of holding bays.
GENXR | General X-Ray Room |  |  | 38
ULTR | Ultrasound Room | Yes |  | 16 (tbc)
CHPT-AC | Change Cubicle - Patient, Accessible | Yes |  | 4 | Extra rooms will be planned at 2m2.
REPW | Reporting Workstation |  |  | 6 | Busy services may require one station per x-ray and two per CT
WCPT | Toilet - Patient | Yes | 1 | 4 | Unless provided nearby and ensure access to an accessible toilet.
STGN | Store - General | Yes |  | 8
| Discounted Circulation |  |  | 32%