## PET_CT Suite
PET / CT SUITE
AusHFG Room Code | Room / Space | SC / SC-D | Qty x m2 Level 2 | Remarks
WAIT-10 | Waiting, 10m2 | Yes | 1 x 12 | Entry lobby / public waiting, may be shared
WCAC | Toilet - Accessible, 6m2 | Yes | 1 x 6 | May be shared, public
RECL-10 | Reception / Clerical, 10m2 | Yes | 1 x 10 | 1 staff; may be shared
OFF-2P | Office - 2 Person Shared, 6m2 | Yes | 1 x 12 | Administrative functions. Quantity dependant on staffing establishment
STPS-8 | Store - Photocopy / Stationery, 8m2 | Yes | 1 x 8
PROP-2 | Property Bay - Staff | Yes | 1 x 2
CHPT-D | Change Cubicle - Accessible, 4m2 | Yes | 1 x 4 | Pre and post-scan; radiation shielded
WCAC | Toilet - Accessible, 6m2 | Yes | 1 x 6 | Radiation shielded, patient.
SHD | Shower - Accessible, 4m2 | Yes | 1 x 4 | For emergencies; radiation shielded
CONS | Consult Room | Yes | 1 x 12 | May also have office function
| Uptake Room |  | 1 x 12 | Refer Note 1 above
| Uptake / Induction Room |  | 1 x 18 | Radiation shielded
PBTR-H-9 | Patient Bay - Holding, 9m2 | Yes | 3 x 9 | May be shared with adjoining unit
SSTN-10 | Staff Station, 10m2 | Yes | 1 x 8 (o) | May be shared
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 x 4 | Include ice machine
BWC | Bay - Wheelchair Park | Yes | 1 x 4 | Increase to 10m2 area if to accommodate transport staff, trolley, handbasin
BLIN | Bay - Linen | Yes | 1 x 2
BRES | Bay - Resuscitation | Yes | 1 x 1.5
BHWS-B | Bay - Handwashing, Type B | Yes | 1 x 1 | In corridor
STSS-12 | Store - Sterile Stock, 12m2 | Yes | 1 x 12
DTUR-S | Dirty Utility - Sub, 8m2 | Yes | 1 x 8 | May be shared
| Discharge Lounge |  | 1 x 8 | Radiation shielded. Collocate with Beverage Bay
| PET / CT Scanner |  | 1 x 50 | Sized to suit the equipment selected.
| Control Room |  | 1 x 16 | May need to be radiation shielded
| PET / CT Plant / Equipment Room |  | 1 x 18 | Includes server etc. Air-conditioned
STEQ-14 | Store - Equipment, 14m2 | Yes | 1 x 14 | General items
| Hot Laboratory |  | 1 x 18
XRRR | X-Ray Viewing & Reporting Room | Yes | 1 x 18 | 3 workstations
OFF-S12 | Office - Single Persom, 12m2 | Yes | 1 x 12 | Staff Specialist / Unit Director
OFF-S9 | Office - Single Persom, 9m2 | Yes | 2 x 9 | Chief Technologist & Physicist
WCST | Toilet - Staff, 3m2 | Yes | 1 x 3 | Within envelope of Unit
CLRM | Cleaner's Room, 5m2 | Yes | 1 x 5 | May be shared with adjoining unit
| Discounted Circulation |  | 32%

## Staff Areas
STAFF AREAS
AusHFG Room Code | Room / Space | SC / SC-D | Qty x m2 Level 2 | Remarks
SRM-15 | Staff Room, 15m2 | Yes | 1 x 15 | Includes Beverage Bay
MEET-12 | Meeting Room, 12m2 | Yes | 1 x 12
WCST | Toilet - Staff, 3m2 | Yes | 2 x 3
SHST | Shower - Staff, 3m2 | Yes | 1 x 3
| Discounted Circulation |  | 25%

## Cyclotron_Radiopharmacy
CYCLOTRON AND RADIOPHARMACY
AusHFG Room Code | Room / Space | SC / SC-D | Qty x m2 Level 2 | Remarks
| Cyclotron |  | 80 | Nominal size only
| Radiopharmacy |  | 150 | Nominal only
| Staff & Technical Support |  | 70 | Nominal only
| Discounted Circulation |  | 32%