## Level 2
Level 2
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ADMISSIONS / RECEPTION AREA
RECL-10 | Reception / Clerical, 10m2 | Yes |  | 9 | Level 2 includes space for porter.
WAIT-10 | Waiting, 10m2 | Yes |  |  | Near Unit entry & reception.
MEET-9 | Meeting Room, 9m2 | Yes |  |  | May also accommodate office and interview functions.
WCAC | Toilet - Accessible, 6m2 | Yes |  |  | Optional if no facilities nearby.
WCPU-3 | Toilet - Public, 3m2 | Yes |  |  | Optional if no facilities nearby.
| Discounted Circulation |  | 35%
PREOPERATIVE HOLDING AREA
PBTR-H-9 | Patient Bay - Holding, 9m2 | Yes |  | 9 | 1 per OR; sized for trolleys, but some may be recliner chairs.
OFF-WI-3 | Office - Write-up, 3m2 | Yes |  |  | Staff work area. Ready access from OR, main corridor. Quiet and privacy desirable.
SSTN-10 | Staff Station, 10m2 | Yes |  |  | Only allocated for L5/6 as Reception could be base used for other levels.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | Accessible from OR & Patient Holding Areas. Refer to Part D for details.
BLIN | Bay - Linen | Yes |  |  | Min 1 per 16 bays. Corridor with ready access to Holding/ Anaesthetic Bays.
BBW | Bay - Blanket / Fluid Warmer | Yes |  |  | Min 1 per 8 bed bays.
CLUR-8 | Clean Utility / Medication Room - Sub, 8m2 | Yes |  |  | Direct access from Patient Holding Areas, may be shared with Recovery.
DTUR-S | Dirty Utility - Sub, 8m2 | Yes |  |  | Increase to 12m2 if shared with Recovery & Post-Op Lounge.
| Discounted Circulation |  | 35%
OPERATING ROOM AREA
ANIN | Anaesthetic Induction Room, 15m2 | Yes |  |  | Refer Note 1 above.
ANIN | Anaesthetic Induction Room - Large, 18m2 | Yes
ORGN | Operating Room - General, 42m2 | Yes |  | 42 | Refer Notes 2, 3 and 4 above.
SCRB-8 | Scrub-up / Gowning | Yes |  | 6 | 1 per operating room. If shared between 2 rooms, increase to 10m2.
SETUP-8 | Set-up Room | Yes |  |  | Depends on Operational Policy for case assembly
| Exit Bay |  |  | 8 | 1 per operating room. If shared between 2 rooms, increase to 16m2.
CLUP-15 | Clean-Up Room, 15m2 | Yes |  | 15 | 1 per 2 Operating Rooms.
| Discounted Circulation |  | 35%
CLINICAL SUPPORT AREAS
Control Centre
| Bay - Flash Sterilizing |  |  | 2 | If area required to accommodate a Steris machine, increase size to 6m2.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 1 | Provide at least 1 of each Bay for L5/6 Operating Rooms.
BLIN | Bay - Linen | Yes |  | 2 | 1 per Operating Room. Corridor recess with ready access to Operating Room.
BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes |  | 4 | 1 bay per 2 Operating Rooms. Provide power outlets for recharging.
STSS-12 | Store - Non-sterile / Deboxing |  |  | 20
STEQ-20 | Store- Sterile Stock, 12m2 | Yes |  | 12 | 12m2 per Operating Room. Direct relationship to SSU/ TSSU.
STEQ-14 | Store - Equipment | Yes |  | 30 | *Plan at 6m2 per Operating Room for L5/6. Major equipment
| Store - Equipment |  |  |  | *Plan at 5m2 per Operating Rooms for L5/6. Minor equipment
| Store - Loan Equipment |  |  |  | May be located in SSU/TSSU.
| Anaesthetic Workroom & Biomedical Equipment |  |  |  | Assumes dedicated space for levels 5/6.
Anaesthetic Store
Perfusion Room - Set-up
Store - Perfusion
Audiovisual Workroom
CLRM-5 | Cleaner’s Room, 5m2 | Yes |  | 5 | Provide at least 1 room per 1,000m2. Ready access to all areas of the unit, pref on perimeter.
DISP-10 | Disposal Room | Yes |  | 10
BLST | Blood Store | Yes |  | 2(o) | May be for whole healthcare facility.
BPATH | Bay - Pathology | Yes
STDR-10 | Medication Room
OFF-WI-3 | Office - Write-up, 3m2 | Yes |  | 3 | 1 per 2 Operating Rooms.
OFF-S9 | Office - Single Person, 9m2 |  |  |  | Duty anaesthetists.
WCST | Toilet - Staff, 3m2
| Discounted Circulation |  | 35%
RECOVERY AREA
PBTR-RS1 | Patient Bay - Recovery Stage 1, 9m2 | Yes |  | 9 | 2 bays per Op. & Procedure Room. L2 assumes Day Surgery patients recover in that unit.
1BR-H-12 | 1 Bed Room, Holding
SSTN-10 | Staff Station, 10m2
CLUR-10 | Clean Utility / Medication Room, 10m2 | Yes |  |  | Direct access from Recovery; may be shared with Patient Holding Areas.
DTUR-12 | Dirty Utility, 12m2 | Yes |  |  | Direct access from recovery and post operative areas, may be shared with holding.
BLIN | Bay- Linen | Yes |  |  | 1 per 16 spaces.
BBW | Bay - Blanket / Fluid Warmer | Yes |  |  | 1 per 16 spaces.
STGN-8 | Store - General, 8m2 | Yes |  |  | Large enough for cots, IV poles, blood warmers, etc. Low traffic area, access to patient holding large equip and delivery trolleys, wide and shallow preferred.
BRES | Bay - Resuscitation | Yes |  |  | Access from Operating Rooms and Patient Care / Holding Areas.
BHWS-B | Bay - Handwashing, Type B | Yes |  |  | 1 per 4 bays.
MEET-9 | Meeting Room, 9m2 | Yes |  |  | May be used for interview and other purposes.
| Discounted Circulation |  | 35%
STAFF AMENITIES
CHST-20 | Change - Staff (Male / Female), 20m2 | Yes |  | 20 | Indicative only.
SRM-18 | Staff Room, 18m2 | Yes |  | 20 | Smaller units may share as appropriate. External window desirable.
WCAC | Toilet - Accessible, 6m2 | Yes |  |  | Unless easily available elsewhere.
| Discounted Circulation |  | 35%
ADMINISTRATIVE SUPPORT
OFF-S12 | Office - Single Person, 12m2 | Yes |  |  | Unit Manager.
OFF-S9 | Office - Single Person, 9m2 | Yes |  |  | NUMS, IT Manager, Surgeon, Anaethetist.
OFF-2P | Office - 2 Person Shared, 12m2 | Yes |  |  | CNC/ Educator.
Off-3P | Office - 3 Person Shared, 15m2 | Yes
MEET-12 | Meeting Room, 12m2 | Yes | Shared |  | Quantity to be determined by service demand. May be used for education purposes.
MEET-L-20 | Meeting Room, 20m2 | Yes |  |  | Quantity to be determined by service demand. May be used for education purposes.
| Discounted Circulation |  | 35%
ADMISSION RECEPTION
| Entry Canopy |  | Varies (o) |  | Only required if external access is available.
AIRLE-10 | Airlock - Entry, 10m2 | Yes |  | 12(o) | Only required if external access is available.
| Clerical Support / Medical Records |  |  | 9 | May be shared with Operating Unit or Ambulatory Care Unit.
RECL-10 | Reception / Clerical, 10m2 | Yes |  | 9 | May be shared with Operating Unit or consolidated with Reception in smaller units.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6
WCPU-3 | Toilet - Public, 3m2 | Yes |  | 3
Waiting - Ward Person
| Discounted Circulation |  | 35%
PREOPERATIVE AREA
WAIT-10 | Waiting, 10m2 | Yes |  | 10 | Lounge area for waiting relatives and patients.
CHPT | Change Cubicle - Patient, 2m2 | Yes |  | 2 | The requirement for change rooms in addition to Holding Bays needs to be evaluated.
CHPT-D | Change Cubicle - Accessible, 4m2 | Yes |  | 4 | 30% of the change rooms should be accessible.
1BR-H-12 | 1 Bed Room, 12m2 |  |  | 12 | Class S.
ENS-ST | Ensuite - Standard, 5m2 | Yes |  | 5 | For each isolation room.
BRES | Bay - Resuscitation | Yes |  | 1.5
CONS | Consult Room | Yes |  | 12 | Option to design one room for pre-op eye examinations.
PBTR-H-9 | Patient Bay - Holding, 9m2 | Yes |  | 9 | 1 per Operating Room.
| Bay - Patient Property |  |  | 2 | May be located with Patient Toilet and Change.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | Quantity to comply with Part D.
WCPT | Shower - Patient, 4m2 | Yes |  | 3 | Provide at a ratio of not less that 1:6 if extended day-only activity is planned.
WCPT | Toilet - Patient, 4m2 | Yes |  | 3 | Provide at a ratio of not less than 1 toilet per 6 bays if extended day-only activity is planned. Additional may be required if colonoscopy performed.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6
CLUR-12 | Clean Utility / Medication Room, 12m2 | Yes |  | 10 | Could be shared.
| Discounted Circulation |  | 35%
SUPPORT AREAS
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes |  | 4 | For patients post-procedure.
BMT-4 | Bay - Meal Trolley | Yes |  | 4(o) | Only required if an extended day-only service is operated.
PROP-2 | Property Bay - Staff | Yes |  | 2
BPATH | Bay - Pathology | Yes |  | 5 | May be shared with Ambulatory Care or Operating Unit.
OFF-CLW | Office - Clinical Workroom | Yes |  | 12 | Write-up, multipurpose function.
OFF-S9 | Office - Single Person, 9m2 | Yes |  | 9
STGN-9 | Store - General, 9m2 | Yes |  | 12
CLRM-5 | Cleaner’s Room, 5m2 | Yes |  | 5(o) | May be shared with Ambulatory Care or Operating Unit.
| Discounted Circulation |  | 35%
PREADMISSIONS AREA
CONS | Consult Room | Yes |  | 12 | May be shared with Perioperative Area. Numbers dependent on activity levles.
| Clinical Measurement |  |  |  | Provided in consult rooms in smaller units.
OFF_S9 | Office - Single Person, 9m2 | Yes |  | 9
| Discounted Circulation |  | 35%

## Level 3
Level 3
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ADMISSIONS / RECEPTION AREA
RECL-10 | Reception / Clerical, 10m2 | Yes |  | 12 | Level 2 includes space for porter.
WAIT-10 | Waiting, 10m2 | Yes |  | 4 | Near Unit entry & reception.
MEET-9 | Meeting Room, 9m2 | Yes |  | 9 | May also accommodate office and interview functions.
WCAC | Toilet - Accessible, 6m2 | Yes |  |  | Optional if no facilities nearby.
WCPU-3 | Toilet - Public, 3m2 | Yes |  |  | Optional if no facilities nearby.
| Discounted Circulation |  | 35%
PREOPERATIVE HOLDING AREA
PBTR-H-9 | Patient Bay - Holding, 9m2 | Yes |  | 9 | 1 per OR; sized for trolleys, but some may be recliner chairs.
OFF-WI-3 | Office - Write-up, 3m2 | Yes |  | 3 | Staff work area. Ready access from OR, main corridor. Quiet and privacy desirable.
SSTN-10 | Staff Station, 10m2 | Yes |  |  | Only allocated for L5/6 as Reception could be base used for other levels.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | Accessible from OR & Patient Holding Areas. Refer to Part D for details.
BLIN | Bay - Linen | Yes |  | 2 | Min 1 per 16 bays. Corridor with ready access to Holding/ Anaesthetic Bays.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 2 | Min 1 per 8 bed bays.
CLUR-8 | Clean Utility / Medication Room - Sub, 8m2 | Yes |  |  | Direct access from Patient Holding Areas, may be shared with Recovery.
DTUR-S | Dirty Utility - Sub, 8m2 | Yes |  |  | Increase to 12m2 if shared with Recovery & Post-Op Lounge.
| Discounted Circulation |  | 35%
OPERATING ROOM AREA
ANIN | Anaesthetic Induction Room, 15m2 | Yes |  | 15 | Refer Note 1 above.
ANIN | Anaesthetic Induction Room - Large, 18m2 | Yes
ORGN | Operating Room - General, 42m2 | Yes |  | 55 | Refer Notes 2, 3 and 4 above.
SCRB-8 | Scrub-up / Gowning | Yes |  | 8 | 1 per operating room. If shared between 2 rooms, increase to 10m2.
SETUP-8 | Set-up Room | Yes |  | 8 | Depends on Operational Policy for case assembly
| Exit Bay |  |  | 8 | 1 per operating room. If shared between 2 rooms, increase to 16m2.
CLUP-15 | Clean-Up Room, 15m2 | Yes |  | 15 | 1 per 2 Operating Rooms.
| Discounted Circulation |  | 35%
CLINICAL SUPPORT AREAS
Control Centre
| Bay - Flash Sterilizing |  |  | 2 | If area required to accommodate a Steris machine, increase size to 6m2.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 1 | Provide at least 1 of each Bay for L5/6 Operating Rooms.
BLIN | Bay - Linen | Yes |  | 2 | 1 per Operating Room. Corridor recess with ready access to Operating Room.
BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes |  | 4 | 1 bay per 2 Operating Rooms. Provide power outlets for recharging.
STSS-12 | Store - Non-sterile / Deboxing |  |  | 20
STEQ-20 | Store- Sterile Stock, 12m2 | Yes |  | 12 | 12m2 per Operating Room. Direct relationship to SSU/ TSSU.
STEQ-14 | Store - Equipment | Yes |  | 30 | *Plan at 6m2 per Operating Room for L5/6. Major equipment
| Store - Equipment |  |  | 10 | *Plan at 5m2 per Operating Rooms for L5/6. Minor equipment
| Store - Loan Equipment |  |  | 9(o) | May be located in SSU/TSSU.
| Anaesthetic Workroom & Biomedical Equipment |  |  | 10(o) | Assumes dedicated space for levels 5/6.
| Anaesthetic Store |  |  | 15
Perfusion Room - Set-up
Store - Perfusion
Audiovisual Workroom
CLRM-5 | Cleaner’s Room, 5m2 | Yes |  | 5 | Provide at least 1 room per 1,000m2. Ready access to all areas of the unit, pref on perimeter.
DISP-10 | Disposal Room | Yes |  | 10
BLST | Blood Store | Yes |  | 2 | May be for whole healthcare facility.
BPATH | Bay - Pathology | Yes |  | 9(o)
STDR-10 | Medication Room
OFF-WI-3 | Office - Write-up, 3m2 | Yes |  | 3 | 1 per 2 Operating Rooms.
OFF-S9 | Office - Single Person, 9m2 |  |  |  | Duty anaesthetists.
WCST | Toilet - Staff, 3m2 |  |  | 3
| Discounted Circulation |  | 35%
RECOVERY AREA
PBTR-RS1 | Patient Bay - Recovery Stage 1, 9m2 | Yes |  | 9 | 2 bays per Op. & Procedure Room. L2 assumes Day Surgery patients recover in that unit.
1BR-H-12 | 1 Bed Room, Holding
SSTN-10 | Staff Station, 10m2 |  |  | 9
CLUR-10 | Clean Utility / Medication Room, 10m2 | Yes |  | 10 | Direct access from Recovery; may be shared with Patient Holding Areas.
DTUR-12 | Dirty Utility, 12m2 | Yes |  | 12 | Direct access from recovery and post operative areas, may be shared with holding.
BLIN | Bay- Linen | Yes |  | 2 | 1 per 16 spaces.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 1 | 1 per 16 spaces.
STGN-8 | Store - General, 8m2 | Yes |  | 6 | Large enough for cots, IV poles, blood warmers, etc. Low traffic area, access to patient holding large equip and delivery trolleys, wide and shallow preferred.
BRES | Bay - Resuscitation | Yes |  | 1.5 | Access from Operating Rooms and Patient Care / Holding Areas.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | 1 per 4 bays.
MEET-9 | Meeting Room, 9m2 | Yes |  |  | May be used for interview and other purposes.
| Discounted Circulation |  | 35%
STAFF AMENITIES
CHST-20 | Change - Staff (Male / Female), 20m2 | Yes |  | 30 | Indicative only.
SRM-18 | Staff Room, 18m2 | Yes |  | 20 | Smaller units may share as appropriate. External window desirable.
WCAC | Toilet - Accessible, 6m2 | Yes |  |  | Unless easily available elsewhere.
| Discounted Circulation |  | 35%
ADMINISTRATIVE SUPPORT
OFF-S12 | Office - Single Person, 12m2 | Yes |  |  | Unit Manager.
OFF-S9 | Office - Single Person, 9m2 | Yes |  | 9 | NUMS, IT Manager, Surgeon, Anaethetist.
OFF-2P | Office - 2 Person Shared, 12m2 | Yes |  |  | CNC/ Educator.
Off-3P | Office - 3 Person Shared, 15m2 | Yes
MEET-12 | Meeting Room, 12m2 | Yes |  | 12 | Quantity to be determined by service demand. May be used for education purposes.
MEET-L-20 | Meeting Room, 20m2 | Yes |  |  | Quantity to be determined by service demand. May be used for education purposes.
| Discounted Circulation |  | 35%
ADMISSION RECEPTION
| Entry Canopy |  | Varies (o) |  | Only required if external access is available.
AIRLE-10 | Airlock - Entry, 10m2 | Yes |  | 12(o) | Only required if external access is available.
| Clerical Support / Medical Records |  |  | 9 | May be shared with Operating Unit or Ambulatory Care Unit.
RECL-10 | Reception / Clerical, 10m2 | Yes |  | 9 | May be shared with Operating Unit or consolidated with Reception in smaller units.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6
WCPU-3 | Toilet - Public, 3m2 | Yes |  | 3
| Waiting - Ward Person |  |  | 6
| Discounted Circulation |  | 35%
PREOPERATIVE AREA
WAIT-10 | Waiting, 10m2 | Yes |  | 12 | Lounge area for waiting relatives and patients.
CHPT | Change Cubicle - Patient, 2m2 | Yes |  | 2 | The requirement for change rooms in addition to Holding Bays needs to be evaluated.
CHPT-D | Change Cubicle - Accessible, 4m2 | Yes |  | 4 | 30% of the change rooms should be accessible.
1BR-H-12 | 1 Bed Room, 12m2 |  |  | 12 | Class S.
ENS-ST | Ensuite - Standard, 5m2 | Yes |  | 5 | For each isolation room.
BRES | Bay - Resuscitation | Yes |  | 1.5
CONS | Consult Room | Yes |  | 12 | Option to design one room for pre-op eye examinations.
PBTR-H-9 | Patient Bay - Holding, 9m2 | Yes |  | 9 | 1 per Operating Room.
| Bay - Patient Property |  |  | 2 | May be located with Patient Toilet and Change.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | Quantity to comply with Part D.
WCPT | Shower - Patient, 4m2 | Yes |  | 3 | Provide at a ratio of not less that 1:6 if extended day-only activity is planned.
WCPT | Toilet - Patient, 4m2 | Yes |  | 3 | Provide at a ratio of not less than 1 toilet per 6 bays if extended day-only activity is planned. Additional may be required if colonoscopy performed.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6
CLUR-12 | Clean Utility / Medication Room, 12m2 | Yes |  | 10 | Could be shared.
| Discounted Circulation |  | 35%
SUPPORT AREAS
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes |  | 4 | For patients post-procedure.
BMT-4 | Bay - Meal Trolley | Yes |  | 4(o) | Only required if an extended day-only service is operated.
PROP-2 | Property Bay - Staff | Yes |  | 3
BPATH | Bay - Pathology | Yes |  | 5 | May be shared with Ambulatory Care or Operating Unit.
OFF-CLW | Office - Clinical Workroom | Yes |  | 16 | Write-up, multipurpose function.
OFF-S9 | Office - Single Person, 9m2 | Yes |  | 9
STGN-9 | Store - General, 9m2 | Yes |  | 14
CLRM-5 | Cleaner’s Room, 5m2 | Yes |  | 5(o) | May be shared with Ambulatory Care or Operating Unit.
| Discounted Circulation |  | 35%
PREADMISSIONS AREA
CONS | Consult Room | Yes |  | 12 | May be shared with Perioperative Area. Numbers dependent on activity levles.
| Clinical Measurement |  |  |  | Provided in consult rooms in smaller units.
OFF_S9 | Office - Single Person, 9m2 | Yes |  | 9
| Discounted Circulation |  | 35%

## Level 4
Level 4
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ADMISSIONS / RECEPTION AREA
RECL-10 | Reception / Clerical, 10m2 | Yes |  | 12 | Level 2 includes space for porter.
WAIT-10 | Waiting, 10m2 | Yes |  | 8 | Near Unit entry & reception.
MEET-9 | Meeting Room, 9m2 | Yes |  | 9 | May also accommodate office and interview functions.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6(o) | Optional if no facilities nearby.
WCPU-3 | Toilet - Public, 3m2 | Yes |  | 3(o) | Optional if no facilities nearby.
| Discounted Circulation |  | 40%
PREOPERATIVE HOLDING AREA
PBTR-H-9 | Patient Bay - Holding, 9m2 | Yes |  | 9 | 1 per OR; sized for trolleys, but some may be recliner chairs.
OFF-WI-3 | Office - Write-up, 3m2 | Yes |  | 3 | Staff work area. Ready access from OR, main corridor. Quiet and privacy desirable.
SSTN-10 | Staff Station, 10m2 | Yes |  |  | Only allocated for L5/6 as Reception could be base used for other levels.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | Accessible from OR & Patient Holding Areas. Refer to Part D for details.
BLIN | Bay - Linen | Yes |  | 2 | Min 1 per 16 bays. Corridor with ready access to Holding/ Anaesthetic Bays.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 2 | Min 1 per 8 bed bays.
CLUR-8 | Clean Utility / Medication Room - Sub, 8m2 | Yes |  |  | Direct access from Patient Holding Areas, may be shared with Recovery.
DTUR-S | Dirty Utility - Sub, 8m2 | Yes |  |  | Increase to 12m2 if shared with Recovery & Post-Op Lounge.
| Discounted Circulation |  | 40%
OPERATING ROOM AREA
ANIN | Anaesthetic Induction Room, 15m2 | Yes |  | 15 | Refer Note 1 above.
ANIN | Anaesthetic Induction Room - Large, 18m2 | Yes
ORGN | Operating Room - General, 42m2 | Yes |  | 55 | Refer Notes 2, 3 and 4 above.
SCRB-8 | Scrub-up / Gowning | Yes |  | 8 | 1 per operating room. If shared between 2 rooms, increase to 10m2.
SETUP-8 | Set-up Room | Yes |  | 8 | Depends on Operational Policy for case assembly
| Exit Bay |  |  | 8 | 1 per operating room. If shared between 2 rooms, increase to 16m2.
CLUP-15 | Clean-Up Room, 15m2 | Yes |  | 15 | 1 per 2 Operating Rooms.
| Discounted Circulation |  | 40%
CLINICAL SUPPORT AREAS
| Control Centre |  |  | 9
| Bay - Flash Sterilizing |  |  | 2 | If area required to accommodate a Steris machine, increase size to 6m2.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 1 | Provide at least 1 of each Bay for L5/6 Operating Rooms.
BLIN | Bay - Linen | Yes |  | 2 | 1 per Operating Room. Corridor recess with ready access to Operating Room.
BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes |  | 4 | 1 bay per 2 Operating Rooms. Provide power outlets for recharging.
STSS-12 | Store - Non-sterile / Deboxing |  |  | 30
STEQ-20 | Store- Sterile Stock, 12m2 | Yes |  | 12 | 12m2 per Operating Room. Direct relationship to SSU/ TSSU.
STEQ-14 | Store - Equipment | Yes |  | 40 | *Plan at 6m2 per Operating Room for L5/6. Major equipment
| Store - Equipment |  |  | 10 | *Plan at 5m2 per Operating Rooms for L5/6. Minor equipment
| Store - Loan Equipment |  |  | 10(o) | May be located in SSU/TSSU.
| Anaesthetic Workroom & Biomedical Equipment |  |  | 15(o) | Assumes dedicated space for levels 5/6.
| Anaesthetic Store |  |  | 20
Perfusion Room - Set-up
Store - Perfusion
Audiovisual Workroom
CLRM-5 | Cleaner’s Room, 5m2 | Yes |  | 5 | Provide at least 1 room per 1,000m2. Ready access to all areas of the unit, pref on perimeter.
DISP-10 | Disposal Room | Yes |  | 15
BLST | Blood Store | Yes |  | 2 | May be for whole healthcare facility.
BPATH | Bay - Pathology | Yes |  | 9(o)
STDR-10 | Medication Room |  |  | 6
OFF-WI-3 | Office - Write-up, 3m2 | Yes |  | 3 | 1 per 2 Operating Rooms.
OFF-S9 | Office - Single Person, 9m2 |  |  |  | Duty anaesthetists.
WCST | Toilet - Staff, 3m2 |  |  | 3
| Discounted Circulation |  | 40%
RECOVERY AREA
PBTR-RS1 | Patient Bay - Recovery Stage 1, 9m2 | Yes |  | 9 | 2 bays per Op. & Procedure Room. L2 assumes Day Surgery patients recover in that unit.
1BR-H-12 | 1 Bed Room, Holding |  |  | 12
SSTN-10 | Staff Station, 10m2 |  |  | 12
CLUR-10 | Clean Utility / Medication Room, 10m2 | Yes |  | 12 | Direct access from Recovery; may be shared with Patient Holding Areas.
DTUR-12 | Dirty Utility, 12m2 | Yes |  | 12 | Direct access from recovery and post operative areas, may be shared with holding.
BLIN | Bay- Linen | Yes |  | 2 | 1 per 16 spaces.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 1 | 1 per 16 spaces.
STGN-8 | Store - General, 8m2 | Yes |  | 6 | Large enough for cots, IV poles, blood warmers, etc. Low traffic area, access to patient holding large equip and delivery trolleys, wide and shallow preferred.
BRES | Bay - Resuscitation | Yes |  | 1.5 | Access from Operating Rooms and Patient Care / Holding Areas.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | 1 per 4 bays.
MEET-9 | Meeting Room, 9m2 | Yes |  |  | May be used for interview and other purposes.
| Discounted Circulation |  | 40%
STAFF AMENITIES
CHST-20 | Change - Staff (Male / Female), 20m2 | Yes |  | 80 | Indicative only.
SRM-18 | Staff Room, 18m2 | Yes |  | 30 | Smaller units may share as appropriate. External window desirable.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6 | Unless easily available elsewhere.
| Discounted Circulation |  | 40%
ADMINISTRATIVE SUPPORT
OFF-S12 | Office - Single Person, 12m2 | Yes |  | 12 | Unit Manager.
OFF-S9 | Office - Single Person, 9m2 | Yes |  | 9 | NUMS, IT Manager, Surgeon, Anaethetist.
OFF-2P | Office - 2 Person Shared, 12m2 | Yes |  | 12 | CNC/ Educator.
Off-3P | Office - 3 Person Shared, 15m2 | Yes |  | 15
MEET-12 | Meeting Room, 12m2 | Yes |  |  | Quantity to be determined by service demand. May be used for education purposes.
MEET-L-20 | Meeting Room, 20m2 | Yes |  | 15 - 20 | Quantity to be determined by service demand. May be used for education purposes.
| Discounted Circulation |  | 40%
ADMISSION RECEPTION
| Entry Canopy |  | Varies (o) |  | Only required if external access is available.
AIRLE-10 | Airlock - Entry, 10m2 | Yes |  | 12(o) | Only required if external access is available.
| Clerical Support / Medical Records |  |  | 9 | May be shared with Operating Unit or Ambulatory Care Unit.
RECL-10 | Reception / Clerical, 10m2 | Yes |  | 9 | May be shared with Operating Unit or consolidated with Reception in smaller units.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6
WCPU-3 | Toilet - Public, 3m2 | Yes |  | 3
| Waiting - Ward Person |  |  | 6
| Discounted Circulation |  | 40%
PREOPERATIVE AREA
WAIT-10 | Waiting, 10m2 | Yes |  | 15 | Lounge area for waiting relatives and patients.
CHPT | Change Cubicle - Patient, 2m2 | Yes |  | 2 | The requirement for change rooms in addition to Holding Bays needs to be evaluated.
CHPT-D | Change Cubicle - Accessible, 4m2 | Yes |  | 4 | 30% of the change rooms should be accessible.
1BR-H-12 | 1 Bed Room, 12m2 |  |  | 12 | Class S.
ENS-ST | Ensuite - Standard, 5m2 | Yes |  | 5 | For each isolation room.
BRES | Bay - Resuscitation | Yes |  | 1.5
CONS | Consult Room | Yes |  | 12 | Option to design one room for pre-op eye examinations.
PBTR-H-9 | Patient Bay - Holding, 9m2 | Yes |  | 9 | 1 per Operating Room.
| Bay - Patient Property |  |  | 4 | May be located with Patient Toilet and Change.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | Quantity to comply with Part D.
WCPT | Shower - Patient, 4m2 | Yes |  | 3 | Provide at a ratio of not less that 1:6 if extended day-only activity is planned.
WCPT | Toilet - Patient, 4m2 | Yes |  | 3 | Provide at a ratio of not less than 1 toilet per 6 bays if extended day-only activity is planned. Additional may be required if colonoscopy performed.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6
CLUR-12 | Clean Utility / Medication Room, 12m2 | Yes |  | 12 | Could be shared.
| Discounted Circulation |  | 40%
SUPPORT AREAS
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes |  | 4 | For patients post-procedure.
BMT-4 | Bay - Meal Trolley | Yes |  | 4(o) | Only required if an extended day-only service is operated.
PROP-2 | Property Bay - Staff | Yes |  | 3
BPATH | Bay - Pathology | Yes |  | 5 | May be shared with Ambulatory Care or Operating Unit.
OFF-CLW | Office - Clinical Workroom | Yes |  | 16 | Write-up, multipurpose function.
OFF-S9 | Office - Single Person, 9m2 | Yes |  | 9
STGN-9 | Store - General, 9m2 | Yes |  | 14
CLRM-5 | Cleaner’s Room, 5m2 | Yes |  | 5 (o) | May be shared with Ambulatory Care or Operating Unit.
| Discounted Circulation |  | 40%
PREADMISSIONS AREA
CONS | Consult Room | Yes |  | 12 | May be shared with Perioperative Area. Numbers dependent on activity levles.
| Clinical Measurement |  |  |  | Provided in consult rooms in smaller units.
OFF_S9 | Office - Single Person, 9m2 | Yes |  | 9
| Discounted Circulation |  | 40%

## Level 5 and 6
Level 5 and 6
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ADMISSIONS / RECEPTION AREA
RECL-10 | Reception / Clerical, 10m2 | Yes |  | 15 | Level 2 includes space for porter.
WAIT-10 | Waiting, 10m2 | Yes |  | 16 | Near Unit entry & reception.
MEET-9 | Meeting Room, 9m2 | Yes |  | 9 | May also accommodate office and interview functions.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6(o) | Optional if no facilities nearby.
WCPU-3 | Toilet - Public, 3m2 | Yes |  | 3(o) | Optional if no facilities nearby.
| Discounted Circulation |  | 45%
PREOPERATIVE HOLDING AREA
PBTR-H-9 | Patient Bay - Holding, 9m2 | Yes |  | 9 | 1 per OR; sized for trolleys, but some may be recliner chairs.
OFF-WI-3 | Office - Write-up, 3m2 | Yes |  | 3 | Staff work area. Ready access from OR, main corridor. Quiet and privacy desirable.
SSTN-10 | Staff Station, 10m2 | Yes |  | 6 | Only allocated for L5/6 as Reception could be base used for other levels.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | Accessible from OR & Patient Holding Areas. Refer to Part D for details.
BLIN | Bay - Linen | Yes |  | 2 | Min 1 per 16 bays. Corridor with ready access to Holding/ Anaesthetic Bays.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 2 | Min 1 per 8 bed bays.
CLUR-8 | Clean Utility / Medication Room - Sub, 8m2 | Yes |  | 8(o) | Direct access from Patient Holding Areas, may be shared with Recovery.
DTUR-S | Dirty Utility - Sub, 8m2 | Yes |  | 8(o) | Increase to 12m2 if shared with Recovery & Post-Op Lounge.
| Discounted Circulation |  | 45%
OPERATING ROOM AREA
ANIN | Anaesthetic Induction Room, 15m2 | Yes |  | 15 | Refer Note 1 above.
ANIN | Anaesthetic Induction Room - Large, 18m2 | Yes |  | 18
ORGN | Operating Room - General, 42m2 | Yes |  | 55 | Refer Notes 2, 3 and 4 above.
SCRB-8 | Scrub-up / Gowning | Yes |  | 8 | 1 per operating room. If shared between 2 rooms, increase to 10m2.
SETUP-8 | Set-up Room | Yes |  | 8 | Depends on Operational Policy for case assembly
| Exit Bay |  |  | 8 | 1 per operating room. If shared between 2 rooms, increase to 16m2.
CLUP-15 | Clean-Up Room, 15m2 | Yes |  | 15 | 1 per 2 Operating Rooms.
| Discounted Circulation |  | 45%
CLINICAL SUPPORT AREAS
| Control Centre |  |  | 12
| Bay - Flash Sterilizing |  |  | 2 | If area required to accommodate a Steris machine, increase size to 6m2.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 1 | Provide at least 1 of each Bay for L5/6 Operating Rooms.
BLIN | Bay - Linen | Yes |  | 2 | 1 per Operating Room. Corridor recess with ready access to Operating Room.
BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes |  | 4 | 1 bay per 2 Operating Rooms. Provide power outlets for recharging.
STSS-12 | Store - Non-sterile / Deboxing |  |  | 30
STEQ-20 | Store- Sterile Stock, 12m2 | Yes |  | 12 | 12m2 per Operating Room. Direct relationship to SSU/ TSSU.
STEQ-14 | Store - Equipment | Yes |  | * | *Plan at 6m2 per Operating Room for L5/6. Major equipment
| Store - Equipment |  |  | * | *Plan at 5m2 per Operating Rooms for L5/6. Minor equipment
| Store - Loan Equipment |  |  | 12(o) | May be located in SSU/TSSU.
| Anaesthetic Workroom & Biomedical Equipment |  |  | 20 | Assumes dedicated space for levels 5/6.
| Anaesthetic Store |  |  | 35
| Perfusion Room - Set-up |  |  | 20
| Store - Perfusion |  |  | 20
| Audiovisual Workroom |  |  | 12
CLRM-5 | Cleaner’s Room, 5m2 | Yes |  | 5 | Provide at least 1 room per 1,000m2. Ready access to all areas of the unit, pref on perimeter.
DISP-10 | Disposal Room | Yes |  | 20
BLST | Blood Store | Yes |  | 2 | May be for whole healthcare facility.
BPATH | Bay - Pathology | Yes |  | 9
STDR-10 | Medication Room |  |  | 9
OFF-WI-3 | Office - Write-up, 3m2 | Yes |  | 3 | 1 per 2 Operating Rooms.
OFF-S9 | Office - Single Person, 9m2 |  |  | 9 | Duty anaesthetists.
WCST | Toilet - Staff, 3m2 |  |  | 3
| Discounted Circulation |  | 45%
RECOVERY AREA
PBTR-RS1 | Patient Bay - Recovery Stage 1, 9m2 | Yes |  | 9 | 2 bays per Op. & Procedure Room. L2 assumes Day Surgery patients recover in that unit.
1BR-H-12 | 1 Bed Room, Holding |  |  | 12
SSTN-10 | Staff Station, 10m2 |  |  | 24
CLUR-10 | Clean Utility / Medication Room, 10m2 | Yes |  | 14 | Direct access from Recovery; may be shared with Patient Holding Areas.
DTUR-12 | Dirty Utility, 12m2 | Yes |  | 12 | Direct access from recovery and post operative areas, may be shared with holding.
BLIN | Bay- Linen | Yes |  | 2 | 1 per 16 spaces.
BBW | Bay - Blanket / Fluid Warmer | Yes |  | 1 | 1 per 16 spaces.
STGN-8 | Store - General, 8m2 | Yes |  | 10 | Large enough for cots, IV poles, blood warmers, etc. Low traffic area, access to patient holding large equip and delivery trolleys, wide and shallow preferred.
BRES | Bay - Resuscitation | Yes |  | 1.5 | Access from Operating Rooms and Patient Care / Holding Areas.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | 1 per 4 bays.
MEET-9 | Meeting Room, 9m2 | Yes |  | 9(o) | May be used for interview and other purposes.
| Discounted Circulation |  | 45%
STAFF AMENITIES
CHST-20 | Change - Staff (Male / Female), 20m2 | Yes |  | 120 | Indicative only.
SRM-18 | Staff Room, 18m2 | Yes |  | 60 | Smaller units may share as appropriate. External window desirable.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6 | Unless easily available elsewhere.
| Discounted Circulation |  | 45%
ADMINISTRATIVE SUPPORT
OFF-S12 | Office - Single Person, 12m2 | Yes |  | 12 | Unit Manager.
OFF-S9 | Office - Single Person, 9m2 | Yes |  | 9 | NUMS, IT Manager, Surgeon, Anaethetist.
OFF-2P | Office - 2 Person Shared, 12m2 | Yes |  | 12 | CNC/ Educator.
Off-3P | Office - 3 Person Shared, 15m2 | Yes |  | 15
MEET-12 | Meeting Room, 12m2 | Yes |  |  | Quantity to be determined by service demand. May be used for education purposes.
MEET-L-20 | Meeting Room, 20m2 | Yes |  | 20-30 | Quantity to be determined by service demand. May be used for education purposes.
| Discounted Circulation |  | 45%
ADMISSION RECEPTION
| Entry Canopy |  | Varies (o) |  | Only required if external access is available.
AIRLE-10 | Airlock - Entry, 10m2 | Yes |  | 12(o) | Only required if external access is available.
| Clerical Support / Medical Records |  |  | 9 | May be shared with Operating Unit or Ambulatory Care Unit.
RECL-10 | Reception / Clerical, 10m2 | Yes |  | 12 | May be shared with Operating Unit or consolidated with Reception in smaller units.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6
WCPU-3 | Toilet - Public, 3m2 | Yes |  | 3
| Waiting - Ward Person |  |  | 9
| Discounted Circulation |  | 45%
PREOPERATIVE AREA
WAIT-10 | Waiting, 10m2 | Yes |  | 30 | Lounge area for waiting relatives and patients.
CHPT | Change Cubicle - Patient, 2m2 | Yes |  | 2 | The requirement for change rooms in addition to Holding Bays needs to be evaluated.
CHPT-D | Change Cubicle - Accessible, 4m2 | Yes |  | 4 | 30% of the change rooms should be accessible.
1BR-H-12 | 1 Bed Room, 12m2 |  |  | 12 | Class S.
ENS-ST | Ensuite - Standard, 5m2 | Yes |  | 5 | For each isolation room.
BRES | Bay - Resuscitation | Yes |  | 1.5
CONS | Consult Room | Yes |  | 12 | Option to design one room for pre-op eye examinations.
PBTR-H-9 | Patient Bay - Holding, 9m2 | Yes |  | 9 | 1 per Operating Room.
| Bay - Patient Property |  |  | 4 | May be located with Patient Toilet and Change.
BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | Quantity to comply with Part D.
WCPT | Shower - Patient, 4m2 | Yes |  | 3 | Provide at a ratio of not less that 1:6 if extended day-only activity is planned.
WCPT | Toilet - Patient, 4m2 | Yes |  | 3 | Provide at a ratio of not less than 1 toilet per 6 bays if extended day-only activity is planned. Additional may be required if colonoscopy performed.
WCAC | Toilet - Accessible, 6m2 | Yes |  | 6
CLUR-12 | Clean Utility / Medication Room, 12m2 | Yes |  | 12 | Could be shared.
| Discounted Circulation |  | 45%
SUPPORT AREAS
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes |  | 4 | For patients post-procedure.
BMT-4 | Bay - Meal Trolley | Yes |  | 4(o) | Only required if an extended day-only service is operated.
PROP-2 | Property Bay - Staff | Yes |  | 3
BPATH | Bay - Pathology | Yes |  | 5 | May be shared with Ambulatory Care or Operating Unit.
OFF-CLW | Office - Clinical Workroom | Yes |  | 16 | Write-up, multipurpose function.
OFF-S9 | Office - Single Person, 9m2 | Yes |  | 9
STGN-9 | Store - General, 9m2 | Yes |  | 16
CLRM-5 | Cleaner’s Room, 5m2 | Yes |  | 5 (o) | May be shared with Ambulatory Care or Operating Unit.
| Discounted Circulation |  | 45%
PREADMISSIONS AREA
CONS | Consult Room | Yes |  | 12 | May be shared with Perioperative Area. Numbers dependent on activity levles.
| Clinical Measurement |  |  | 12 | Provided in consult rooms in smaller units.
OFF_S9 | Office - Single Person, 9m2 | Yes |  | 9
| Discounted Circulation |  | 45%