## Pathology Unit
Pathology Unit
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
SPECIMEN COLLECTION
WAIT-10 | Waiting, 10m2 | Yes | 1 | 8 | 6 chairs
RECL-10 | Reception / Clerical, 10m2 | Yes | 1 | 10 | 2 staff
STPS-8 | Store - Photocopy / Stationery, 8m2 | Yes | 1 | 8 | May be shared with adjoining unit
| Specimen Collection Bay / Room |  | 2 | 9 | 2 collection areas, workspace and storage
STSS-12 | Store - Sterile Stock | Yes | 1 | 9
WCPT | Toilet - Patient, 4m2 | Yes | 1 | 4 | Specimen collection. 5m2 if accessible access required. May have pass-through hatch.
BPTS | Bay - Pneumatic Tube | Yes | 1 | 1 | Optional, depending on location and hospital- wide approach
BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes | 1 | 4 | Phlebotomy trolleys
OFF-S9 | Office – Single Person, 9m2 | Yes | 1 | 9 (o) | Optional (o), depending on size of service. Will accommodate manager and other administrative requirements of the service.
| Discounted Circulation |  | 32%
RECEPTION
| Reception/ Sorting /Filing |  |  | 1
| Specimen Storage, Packing & Dispatch |  |  | 1 | For transfer to 5/6 Laboratory
| Discounted Circulation |  | 32%
LABORATORIES
| Laboratory - General |  |  | 1 | Haematology, Blood Bank, Clinical Chemistry
| Laboratory - Microbiology |  |  | 1 | Optional if the service cannot be provided in a timely manner by a networked Level 5 or 6 Laboratory
| Bay - Emergency Shower/ Eye Wash |  |  | *1 | *1 in each Lab
| Bay - Freezer |  |  | 1
| Discounted Circulation |  | 32%
SUPPORT AREAS
| Wash-Up Area |  |  | 1 | Glassware etc.
| Clean-Up / Decontamination |  |  | 1
| Store - Flammable Liquids |  |  | 1
STEQ-14 | Store - Equipment | Yes |  | 1
STGN-8 | Store - General | Yes |  | 1
| Store – Specimen and Reagent |  |  | 1 | Cool room
CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 5
DISP-8 | Disposal Room, 8m2 | Yes | 1 | 8
| After-Hours Blood Fridge |  | 1 | 3 | May be located in/near the operating unit and operating theatre.
| Discounted Circulation |  | 32%
STAFF AREAS
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Pathologists (fulltime)
| Office - Workstation, 5.5m2 |  |  | 5.5 | Senior scientists, registrars, clerical staff. No. depdnent on staffing numbers.
MEET-12 | Meeting Room, 12m2 | Yes | 1 | 12
MEET-L-20 | Meeting Room, 20m2 |  | 1 | 20 (o) | Optional. Room to accommodate multi-head microscope if an Anatomical Pathology Service is included
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 | 3 | May be in Meeting Room
PROP-2 | Property Bay - Staff | Yes | 1 | 2
SHST | Shower - Staff, 3m2 | Yes | 1 | 3 | Optional
WCST | Toilet - Staff, 3m2 | Yes | 1 | 3
| Discounted Circulation |  | 25%