## Revision 7
HPU 600 Radiation Oncology Unit - Schedule of Accommodation, Revision 7
ENTRY / RECEPTION / WAITING
AusHFG Room Code | Room / Space | SC / SC-D | 2 Bunkers |  | 4 Bunkers |  | Remarks
|  |  | Qty | m2 | Qty | m2
AIRLE-10 | Airlock - Entry | Yes | 1 | 10 (o) | 1 | 10 (o) | Optional, not required if entry is provided through an internal entry.
WAIT-20 | Waiting | Yes | 1 | 20 | 1 | 30 | Consider access to health promotion and patient education in waiting area. Electronic self registration and queueing systems may be implemented.
RECL-10 | Reception / Clerical | Yes | 1 | 15 | 1 | 20 | 2 and 3 staff assumed. To be aligned with proposed staffing requirements.
| Office – Workstation |  |  | 4.4 |  | 4.4 | Other administrative workstations. Number dependent on staffing profile.
STPS-8 | Store - Photocopy / Stationery | Yes | 1 | 4 | 1 | 8
BWC | Bay - Wheelchair | Yes | 1 | 4 | 1 | 6 | Trolleys and wheelchairs.
WCPU-3 | Toilet - Public | Yes | 2 | 3 | 2 | 3
WCAC | Toilet - Accessible | Yes | 1 | 6 | 1 | 6
PAR | Parenting Room | Yes | 1 | 6 (o) | 1 | 6 (o) | Optional. Access may be provided through an adjacent department. This is essential for paediatric services.
BWD-1 | Bay – Water Dispenser | Yes | 1 | 1 | 1 | 1
BVM-3 | Bay - Vending Machines | Yes | 1 | 3(o) | 1 | 3(o) | Optional, depending on local approaches and service location.
| Volunteers' Workroom |  | 1 | 12 (o) | 1 | 12 (o) | Optional, depending on overall approach to volunteers across the facility. May be included as part of a Wellness Centre where provided.
| Discounted Circulation |  | 25% |  | 25%
OUTPATIENT CLINICS
AusHFG Room Code | Room / Space | SC / SC-D | 2 Bunkers |  | 4 Bunkers |  | Remarks
|  |  | Qty | m2 | Qty | m2
WAIT-20 | Waiting | Yes |  |  | 1 | 20 | For 2 bunker scenario outpatients assumed to share main waiting area.
CONS | Consult Room | Yes | 4 | 12 | 7 | 12 | 14m2 recommended for paediatric services. Indicative number noted only, requirements will depend on clinical services planinng and collocation of other cancer services. Planning also to consider allied health requirements. Dual egress may be required depending on local jurisdictional policies.
CONS | Consult Room | Yes | 2 | 14 | 3 | 14 | Indicative number, refer to note above. Larger sized consult rooms eg for paediatric services.
PROC-16 | Procedure Room | Yes | 1 | 20 | 1 | 20 | E.g. for head and neck examinations, pleural taps, peritoneal drains.
INTV | Interview Room | Yes | 1 | 12 | 1 | 12
| Office – Workstation |  |  | 4.4 |  | 4.4 | Number dependent on staffing profile and local jurisdictional policies.
| Discounted Circulation |  | 32% |  | 32%
PLANNING AREAS
AusHFG Room Code | Room / Space | SC / SC-D | 2 Bunkers |  | 4 Bunkers |  | Remarks
|  |  | Qty | m2 | Qty | m2
WAIT-SUB | Waiting - Sub | Yes | 1 | 5 | 1 | 10
CHPT-D | Change Cubicle - Accessible |  | 1 | 4 | 2 | 4
WCPT | Toilet - Patient | Yes | 1 | 4 | 1 | 4
INTV | Interview Room | Yes | 1 | 12 | 2 | 12
CTPR | Radiation Oncology CT Planning Room |  | 1 | 45 | 2 | 45 | Simulation and planning. Second planning modality may be provided as an MR Simulator.
| CT Planning Control Room | Yes | 1 | 21 | 2 | 21 | A number of image review workstations may be separated through glazing for acoustic privacy.
| CT Equipment Room |  | 1 | 10 (o) | 2 | 10 (o) | Optional. Requirement if equipment to be stored outside the CT room.
| Bay - Patient Trolley |  | 1 | 4 | 1 | 6 | For wheelchairs / unoccupied patient trolleys. Requirements will depend on the anticipated volume of inpatients / external patients accessing the unit.
BLIN | Bay - Linen | Yes | 1 | 2 | 1 | 2
BRES | Bay - Resuscitation Trolley | Yes | 1 | 1.5 | 1 | 1.5
STEQ-14 | Store - Equipment | Yes | 1 | 9 | 1 | 12
| Patient Accessory Fabrication Room |  | 1 | 12 | 1 | 20 | Noisy machinery used.
| Planning Workroom |  | 1 | 42 | 1 | 84 | Area allocation will depend on number of staff to be accommodated. Some planning work may be undertaken remotely depending on local policies. Assume 6m2 per workstation.
| Planning Workroom - Brachytherapy |  |  |  |  | 12 (o) | Optional planning workroom for services providing brachytherapy. Assumes 2 workstations per brachytherapy procedure room.
OFF-S9 | Office - Single Person | Yes |  | 9 |  | 9 | Requirements dependent on staffing profile
| Office – Workstation |  |  | 4.4 |  | 4.4 | Requirements dependent on staffing profile
| Discounted Circulation |  | 35% |  | 35%
PATIENT TREATMENT AREAS
AusHFG Room Code | Room / Space | SC / SC-D | 2 Bunkers |  | 4 Bunkers |  | Remarks
|  |  | Qty | m2 | Qty | m2
WAIT-10 | Waiting | Yes | 1 | 8 | 1 | 16 | Assume 3 people waiting per bunker (1 patient, 1 carer and 1 carer for patients currently undergoing treatment). Design to consider patient experience including options for separation of patient groups.
CHPT | Change Cubicle - Patient | Yes | 2 | 2 | 4 | 2 | Recommend 3 change areas per 2 bunkers.
CHPT-D | Change Cubicle - Accessible | Yes | 1 | 4 | 2 | 4
WCAC | Toilet - Accessible | Yes | 1 | 6 | 1 | 6
INTV | Interview Room | Yes | 2 | 9 | 4 | 9 | May also support private waiting. 1 interview room per bunker recommended, ideally collocated with bunker and control room.
WAIT-S | Waiting - Sub | Yes | 2 | 3 | 4 | 3 | Located outside each bunker for those changed into gowns.
LINAC | Linear Accelerator Treatment Room | Yes | 2 | 165 | 4 | 165 | Recommended area is based on indicative shielding requirements as represented in the LINAC Standard Component and includes the maze. The size required will vary depending on the service / equipment requirements and shielding assessment. Consider inclusion of an anaesthetic preparation room for paediatric services.
| Linear Accelerator Treatment Room - Shielding Allocation |  | 2 | 10 | 2 | 10 | Indicative allocation for additional shielding required at either end of a row of bunkers.
LINAC-CR | Linear Accelerator Control Room |  | 2 | 21 | 4 | 21
| Modulator |  | 1 | 15 (o) | 2 | 15 (o) | Optional. For arrangements with modulator located outside of the bunker (this is the preferred approach given the noise generated). If located within the linac treatment room no additional space is required.
| Superficial / Orthovoltage Room |  |  | - | 1 | 45(o) | Optional, depends on service scope. Radiation shielding requirements will depend on modality provided.
| Control Room - Orthovoltage |  |  | - | 1 | 12(o)
BLIN | Bay - Linen | Yes | 1 | 2 | 1 | 2
BHWS-B | Bay – Handwashing, Type B | Yes | 1 | 1 | 1 | 1
STEQ-14 | Store - Equipment | Yes | 1 | 9 | 2 | 9 | Includes space for patient specific immobilisation equipment.
| Discounted Circulation |  | 35% |  | 35%
BRACHYTHERAPY SUITE
AusHFG Room Code | Room / Space | SC / SC-D | 2 Bunkers |  | 4 Bunkers |  | Remarks
|  |  | Qty | m2 | Qty | m2
| Brachytherapy Procedure Room |  |  | - | 1 | 60 | For invasive brachytherapy procedures. This may be provided as part of an operating suite depending on proposed service model. Shielded room. To be equipped as an operating room. Access to patient holding and recovery as below.
| Control Room - Brachytherapy Procedure |  |  | - | 1 | 20
ANAE-16 | Anaesthetic Preparation Room |  |  |  | 1 | 16 | To support brachytherapy procedure room/s.
SCRB-4 | Scrub-Up | Yes |  | - | 1 | 4 | To support brachytherapy procedure room/s.
| Exit Bay |  |  |  | 1 | 12 | To support brachytherapy procedure room.
CLUP-10 | Clean Up Room |  |  |  | 1 | 10 | To support brachytherapy procedure room/s. Can be shared between 2 rooms.
| Brachytherapy Seed Store and Loading |  |  | - | 1 | 9 (o) | Optional, for specialised services providing prostate brachytherapy.
STSS-20 | Store - Sterile Stock | Yes |  | - | 1 | 9 | Sterile consumables associated with procedures.
CHST-10 | Change - Staff (Male/Female) | Yes |  |  | 2 | 10 | May be shared as part of an operating suite.
| Brachytherapy Treatment Room |  |  |  | 1 | 40 | For cavity insertions / less complex brachytherapy procedures not requiring a theatre environment. Shielded room.
| Control Room - Brachytherapy Treatment |  |  | - | 1 | 15
| Store - Brachytherapy |  |  |  | 1 | 8
| Toilet / Change - Patient |  |  | - | 1 | 5
| Discounted Circulation |  |  |  | 40%
PATIENT HOLDING AREA
AusHFG Room Code | Room / Space | SC / SC-D | 2 Bunkers |  | 4 Bunkers |  | Remarks
|  |  | Qty | m2 | Qty | m2
SSTN-10 | Staff Station | Yes | 1 | 12 | 1 | 12 | Open plan with Treatment Bays.
PBTR-H-9 | Patient Bay - Holding | Yes | 4 | 9 | 8 | 9 | Open plan with observation from Staff Station. Two holding bays per bunker recommended (additional required where brachytherapy is provided). Total number of bays required should be informed by the anticipated volume of inpatients and external transfers requiring a trolley bay. Stage 1 recovery bays will be required for post anaesthetic care in specialist services - refer to PBTR-RS1.
1BR-H-12 | 1 Bedroom – Holding |  | - | - | 1 | 12 (o) | Optional depending on service profile eg to support paediatrics.
BHWS-B | Bay - Handwashing, Type B | Yes | 1 | 1 | 2 | 1
ENS-ST | Ensuite - Standard | Yes | - | - | 1 | 5 (o) | Optional collocated with 1 bedroom - holding where provided.
WCPT | Toilet - Patient | Yes | 1 | 4 | 1 | 4
BBEV-OP | Bay - Beverage, Open Plan | Yes | 1 | 4 | 1 | 4
BLIN | Bay - Linen | Yes | 1 | 2 | 1 | 2 | Part of open plan area.
BRES | Bay Resuscitation Trolley | Yes | 1 | 1.5 | 1 | 1.5 | Part of open plan area.
CLN-MED-20 | Clean Store / Medication Room | Yes | 1 | 12 | 1 | 14 | Accessible to other areas of the Unit.
DTUR-10 | Dirty Utility | Yes | 1 | 10 | 1 | 10 | Accessible to other areas of the Unit.
DISP-8 | Disposal Room | Yes | 1 | 8 | 1 | 8 | If combined with Dirty Utility, 1 x 14m2.
CLRM-5 | Cleaner's Room | Yes | 1 | 5 | 1 | 5
| Discounted Circulation |  | 32% |  | 32%
MEDICAL PHYSICS AND ENGINEERING
AusHFG Room Code | Room / Space | SC / SC-D | 2 Bunkers |  | 4 Bunkers |  | Remarks
|  |  | Qty | m2 | Qty | m2
| Medical Physics Laboratory |  | 1 | 20 | 1 | 30
| Dosimetry Laboratory |  | 1 | 15 | 1 | 25
| Store - Medical Physics |  | 1 | 15 | 1 | 20 | Locate close to bunkers so access to water tank is facilitated.
| Engineering Workshop |  | 1 | 20 | 1 | 30 | Includes write-up space for technicians / visiting contractors and storage for spare parts.
| Discounted Circulation |  | 30% |  | 30%
STAFF WORK AREAS AND AMENITIES
AusHFG Room Code | Room / Space | SC / SC-D | 2 Bunkers |  | 4 Bunkers |  | Remarks
|  |  | Qty | m2 | Qty | m2
OFF-S9 | Office – Single Person | Yes | 1 | 9 | 1 | 9 | Requirements dependent on staffing profile and local jurisdictional policies.
| Office – Workstation |  |  | 4.4 |  | 4.4 | Requirements dependent on staffing profile and local jurisdictional policies.
MEET-L-30 | Meeting Room - Large | Yes | 1 | 30 | 1 | 50 | Size of room will depend on number of staff to be accomodated for MDT meetings and/or access to other meeting room as part of integrated cancer services. Requires AV equipment including videoconferencing systems. Use of operable wall between medium and large meeting rooms may be used for additional capacity.
MEET-L-20 | Meeting Room - Medium | Yes | 1 | 15 | 1 | 25 | Requires AV equipment including videoconferencing systems.
INTV | Interview Room | Yes |  | 9 |  | 9 | Number dependent on service requirements. Requires AV equipment including videoconferencing systems.
STPS-8 | Bay – Photocopier / Stationery | Yes | 1 | 4 | 1 | 4
SRM | Staff Room | Yes | 1 | 20 | 1 | 35 | Area will depend on staffing profile and operational policies.
BPROP | Property Bay – Staff | Yes | 1 | 3 | 1 | 6
WCST | Toilet - Staff | Yes | 3 | 3 | 5 | 3 | To be distributed throughout the Unit.
SHST | Shower - Staff | Yes | 1 | 3 (o) | 1 | 3 (o) | Optional depending on approach to end of trip facilities.
| Discounted Circulation |  | 25% |  | 25%