## 12 BED UNIT
CARDIAC CARE UNIT (CCU)
12 BED UNIT
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
PATIENT AREAS
1BR-SP-B | 1 Bed Room – CCU, 20m2 | Yes | 12 | 20
1BR-ST | 1 Bed Room – Inboard Ensuite, 16m2 | Yes |  |  | A size of 16.5m2 is recommended where an 8.4m grid is used.
2BR-ST-A | 2 Bed Room – Inboard Ensuite, 27m2 | Yes |  | 27 | Refer Note 2. Assumed that in 28 bed option, all 6 CCU dedicated beds would be single. A size of 29m2 is recommended where an 8.4m grid is used.
ENS-ST-A1 | Ensuite – Standard, 5m2 | Yes | 11 | 5
ENS-BA | Ensuite – Bariatric, 7m2 | Yes | 1 | 7 | One ensuite sized for bariatric use.
| Discounted Circulation |  | 38%
CLINICAL SUPPORT AREAS
SSTN14 | Staff Station, 14m2 | Yes | 1 | 14 | Assume additional space for central monitor and ECG printer.
| Staff Base |  |  | 5 | Decentralised. In 12 bed scenario, no. may be dependent on layout so beds are easily observable.
OFF-CLN | Office – Clinical Workroom | Yes | 1 | 12
CLUR-14 | Clean Utility Room / Medication, 14m2 | Yes | 1 | 14 | Centrally located.
DTUR-10 | Dirty Utility | Yes | 1 | 10
BBEV-OP | Bay – Beverage, Open Plan, 4m2 | Yes | 1 | 4
BHWS-B | Bay – Handwashing, Type B | Yes |  | 1 | Located in corridor as required.
BLIN | Bay – Linen | Yes | 1 | 2
BMEQ-4 | Bay Mobile Equipment, 4m2 | Yes | 2 | 4 | A range of equipment such as ECG machine etc. May also be used to store WOW where used.
BPTS | Bay – Pneumatic Tube | Yes | 1 | 1 | Selected services may be able to justify some point of care testing. In case of 12 bed unit, this facility may be able to be shared with an adjacent unit.
BRES | Bay - Resuscitation | Yes | 1 | 1.5
CLRM-5 | Cleaners Room, 5m2 | Yes | 1 | 5 | In case of 12 bed unit, this facility may be able to be shared with an adjacent unit.
DISP-10 | Disposal Room | Yes |  | 10 | Shared with adjacent unit.
INTF | Interview Room | Yes | 1 | 12
STEQ-14 | Store – Equipment, 14m2 | Yes | 1 | 14 | A range of clinical equipment, some will need recharging.
STGN-8 | Store – General, 8m2 | Yes | 1 | 8
WCAC | Toilet – Accessible, 6m2 | Yes |  | 6 | Visitor toilet. Seek opportunities to share with adjacent unit or as part of visitor amenities each floor.
LNPT-10 | Lounge – Patient/Family | Yes | 1 | 12 | Also used to provide waiting space for visitors.
| Discounted Circulation |  | 38%
STAFF AREAS
OFF-S9 | Office – Single Person, 9m2 | Yes | 1 | 9 | Nursing manager.
OFF-2P | Office – 2 Person Shared, 12m2 | Yes | 1 | 12 | e.g. CNE, CNC.
| Office, Workstation, 4.4m2 |  |  | 4.4 | Other staff such as dedicated junior medical staff and allied health.
MEET-L-15 | Meeting Room, 15m2 | Yes | 1 | 15 | This should be located to serve both patient and staff functions e.g. patient education, family conferences or staff training.
PROP-2 | Property Bay – Staff | Yes | 1 | 2
SRM-15 | Staff Room | Yes | 1 | 15
WCST | Toilet – Staff, 3m2 | Yes | 1 | 3
| Discounted Circulation |  | 38%

## 28 BED UNIT
CARDIAC CARE UNIT
28 BED UNIT
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
PATIENT AREAS
1BR-SP-B | 1 Bed Room – CCU, 20m2 | Yes | 6 | 20
1BR-ST | 1 Bed Room – Inboard Ensuite, 16m2 | Yes | 6 | 16 | A size of 16.5m2 is recommended where an 8.4m grid is used.
2BR-ST-A | 2 Bed Room – Inboard Ensuite, 27m2 | Yes | 8 | 27 | Refer Note 2. Assumed that in 28 bed option, all 6 CCU dedicated beds would be single. A size of 29m2 is recommended where an 8.4m grid is used.
ENS-ST-A1 | Ensuite – Standard, 5m2 | Yes | 19 | 5
ENS-BA | Ensuite – Bariatric, 7m2 | Yes | 1 | 7 | One ensuite sized for bariatric use.
| Discounted Circulation |  | 38%
CLINICAL SUPPORT AREAS
SSTN14 | Staff Station, 14m2 | Yes | 1 | 16 | Assume additional space for central monitor and ECG printer.
| Staff Base |  | 2 | 5 | Two decentralised staff bases.
OFF-CLN | Office – Clinical Workroom | Yes | 1 | 15
CLUR-14 | Clean Utility Room / Medication, 14m2 | Yes | 1 | 14 | Centrally located.
DTUR-10 | Dirty Utility | Yes | 1 | 14 | SC for 28 bed unit is DTUR-14
BBEV-OP | Bay – Beverage, Open Plan, 4m2 | Yes | 1 | 4
BHWS-B | Bay – Handwashing, Type B | Yes |  | 1 | Located in corridor as required.
BLIN | Bay – Linen | Yes | 2 | 2
BMEQ-4 | Bay Mobile Equipment, 4m2 | Yes | 3 | 4 | A range of equipment such as ECG machine etc. May also be used to store WOW where used.
BPTS | Bay – Pneumatic Tube | Yes | 1 | 1 | Selected services may be able to justify some point of care testing.
BRES | Bay - Resuscitation | Yes | 1 | 1.5
CLRM-5 | Cleaners Room, 5m2 | Yes | 1 | 5
DISP-10 | Disposal Room | Yes |  | 10 | Shared with adjacent unit.
INTF | Interview Room | Yes | 1 | 12
STEQ-14 | Store – Equipment, 14m2 | Yes | 1 | 20 | A range of clinical equipment, some will need recharging. SC for 28 bed unit is STEQ-20,
STGN-8 | Store – General, 8m2 | Yes | 1 | 9 | SC for 28 be unit is STGN-9
WCAC | Toilet – Accessible, 6m2 | Yes |  | 6 | Visitor toilet. Seek opportunities to share with adjacent unit or as part of visitor amenities each floor.
LNPT-10 | Lounge – Patient/Family | Yes | 1 | 15 | Also used to provide waiting space for visitors.
| Discounted Circulation |  | 38%
STAFF AREAS
OFF-S9 | Office – Single Person, 9m2 | Yes | 1 | 9 | Nursing manager.
OFF-2P | Office – 2 Person Shared, 12m2 | Yes | 1 | 12 | e.g. CNE, CNC.
| Office, Workstation, 4.4m2 |  |  | 4.4 | Other staff such as dedicated junior medical staff and allied health.
MEET-L-15 | Meeting Room, 15m2 | Yes | 1 | 20 | This should be located to serve both patient and staff functions e.g. patient education, family conferences or staff training.
PROP-2 | Property Bay – Staff | Yes | 1 | 3
SRM-15 | Staff Room | Yes | 1 | 18
WCST | Toilet – Staff, 3m2 | Yes | 2 | 3
| Discounted Circulation |  | 38%